## All Systems
System | Page | Equipment | Type | Primary From | Alternate From | Properties
SYSTEM D | 1 | GENDA100 | GEN | - | - | 3000kW/3750KVA, 480Y/277V, 3, , 4W, 0.80PF
SYSTEM D | 1 | GSBDA110 | GSB | - | - | 4000A, 480Y/277V, 3, , 4W, 65kAIC, 4000AF, 4000AT, 100%
SYSTEM D | 1 | TRNDA110 | TRN | - | - | -
SYSTEM D | 1 | GSBDB110 | GSB | - | - | -
SYSTEM D | 1 | MSBDA110 | MSB | TRNDA110 | - | 4000A, 480Y/277V, 3, WOODWARD PLC BREAKER TRANSFER CONTROLLER, , 4W, 100kAIC, S.E. RATED, BREAKER TRANSFER IS DELAYED OPEN TRANSITION
SYSTEM D | 1 | MDPDA110 | MDP | - | - | 600A, 480Y/277V, 3, , 3W, 65kAIC
SYSTEM D | 1 | UPSDA110 | UPS | - | - | 1000kVA/1000kW, 480Y/277V, 3, , 3W, INPUT, , 3W, OUTPUT
SYSTEM D | 1 | UPSDA210 | UPS | MDPDA110 | - | 1000kVA/1000kW, 480Y/277V, 3
SYSTEM D | 1 | EPPDZ110 | EPP | - | - | -
SYSTEM D | 1 | EPPDZ110 | EPP | - | - | -
SYSTEM D | 1 | EPPDZ110 | EPP | - | - | -
SYSTEM D | 1 | TRNDA310 | TRN | - | - | 480V:208Y/120, 75KVA, NEMA 1
SYSTEM D | 1 | UPBDA110 | UPB | - | - | -
SYSTEM D | 1 | UPBDA210 | UPB | - | - | -
SYSTEM D | 1 | UPBDA310 | UPB | - | - | -
SYSTEM D | 1 | UPBDA410 | UPB | - | - | -
SYSTEM D | 1 | UPBDA510 | UPB | - | - | -
SYSTEM D | 1 | UPBDA120 | UPB | - | - | -
SYSTEM D | 1 | UPBDA220 | UPB | - | - | -
SYSTEM D | 1 | UPBDA320 | UPB | EPPDZ110 | - | -
SYSTEM D | 1 | UPBDA420 | UPB | EPPDZ110 | - | -
SYSTEM D | 1 | UPBDA520 | UPB | EPPDZ110 | - | -
SYSTEM D | 1 | EPPDZ210 | EPP | UPBDA520 | EPPDZ110, EPPDZ110, EPPDZ110 | -
SYSTEM D | 1 | EPPDZ210 | EPP | ELPDA110 | EPPDZ110, EPPDZ110, EPPDZ110 | -
SYSTEM D | 1 | ELPDA110 | ELP | TRNDA310 | EPPDZ110 | -
SYSTEM D | 1 | MBCDA110 | MBC | UPBDA110 | UPBDA210 | 2500AF, 2500AT
SYSTEM D | 1 | TRNDA210 | TRN | EPPDA230 | ELPDA110, TRNDA310 | -
SYSTEM D | 1 | EPPDA230 | EPP | ELPDA110 | TRNDA310 | -
SYSTEM D | 1 | EPPDA120 | EPP | TRNDA210 | EPPDA230 | -
SYSTEM D | 1 | EPPDA320 | EPP | EPPDA230 | TRNDA210 | -
SYSTEM D | 1 | STSDA110 | STS | - | - | -
SYSTEM D | 1 | STSDA210 | STS | - | - | -
SYSTEM D | 2 | MBCDA110 | MBC | - | - | -
SYSTEM D | 2 | MBCDA110 | MBC | - | - | -
SYSTEM D | 2 | BSWDZ110 | BSW | MBCDA110 | - | -
SYSTEM D | 2 | BSWDZ110 | BSW | MBCDA110 | - | -
SYSTEM D | 2 | STSDA110 | STS | BSWDZ110 | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
SYSTEM D | 2 | STSDA210 | STS | - | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
SYSTEM D | 2 | UDPDA110 | UDP | STSDA110 | - | 1600A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 2 | UDPDA220 | UDP | STSDA210 | - | 1600A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 2 | PDUDA110 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V, 65kAIC
SYSTEM D | 2 | PDUDA310 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V, 65kAIC
SYSTEM D | 2 | PDUDA520 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 2 | PDUDA720 | PDU | - | - | 500KVA, K4 RATING
SYSTEM D | 2 | TRNDA410 | TRN | - | - | -
SYSTEM D | 2 | RPPDA117 | RPP | - | - | -
SYSTEM D | 2 | RPPDA217 | RPP | TRNDA410 | - | -
SYSTEM D | 2 | RPPDA317 | RPP | TRNDA410 | - | -
SYSTEM D | 2 | RPPDA417 | RPP | TRNDA410 | - | -
SYSTEM D | 2 | RPPDA517 | RPP | TRNDA410 | - | -
SYSTEM D | 2 | RPPDA137 | RPP | TRNDA410 | - | -
SYSTEM D | 2 | RPPDA237 | RPP | TRNDA410 | - | -
SYSTEM D | 2 | RPPDA337 | RPP | - | - | -
SYSTEM D | 2 | RPPDA437 | RPP | - | - | -
SYSTEM D | 2 | RPPDA537 | RPP | - | - | -
SYSTEM D | 2 | RPPDA158 | RPP | - | - | -
SYSTEM D | 2 | RPPDA258 | RPP | - | - | -
SYSTEM D | 2 | RPPDA358 | RPP | - | - | -
SYSTEM D | 2 | RPPDA458 | RPP | - | - | -
SYSTEM D | 2 | RPPDA558 | RPP | - | - | -
SYSTEM D | 2 | RPPDA178 | RPP | - | - | -
SYSTEM D | 2 | RPPDA278 | RPP | - | - | -
SYSTEM D | 2 | RPPDA378 | RPP | - | - | -
SYSTEM D | 2 | RPPDA478 | RPP | - | - | -
SYSTEM D | 2 | RPPDA578 | RPP | - | - | -
SYSTEM D | 2 | RPPDA610 | RPP | RPPDA517 | RPPDA417, RPPDA317, RPPDA137, RPPDA217, RPPDA237, TRNDA410 | -
SYSTEM D | 2 | MBCDA110 | MBC | RPPDA537 | RPPDA437, RPPDA337, RPPDA237, RPPDA158 | -
SYSTEM D | 2 | UDPDA310 | UDP | MBCDA110 | RPPDA337, RPPDA437, RPPDA537, RPPDA158, RPPDA258, RPPDA358, RPPDA458, RPPDA558 | 2500A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 2 | BSWDZ210 | BSW | - | - | -
SYSTEM D | 2 | BSWDZ310 | BSW | - | - | -
SYSTEM D | 2 | BSWDZ210 | BSW | - | - | -
SYSTEM D | 2 | BSWDZ310 | BSW | - | - | -
SYSTEM D | 2 | ATSDA130 | ATS | BSWDZ210 | BSWDZ210 | 800A,480V, 3, , 3-POLE
SYSTEM D | 2 | ATSDA230 | ATS | - | - | 800A,480V, 3, , 3-POLE
SYSTEM D | 2 | ATSDA330 | ATS | BSWDZ310 | BSWDZ310 | 800A,480V, 3, , 3-POLE
SYSTEM D | 2 | ATSDA430 | ATS | - | - | -
SYSTEM D | 2 | PDUDA210 | PDU | ATSDA130 | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 2 | PDUDA420 | PDU | ATSDA230 | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 2 | PDUDA630 | PDU | ATSDA330 | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 2 | PDUDA840 | PDU | ATSDA430 | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 2 | RPPDA127 | RPP | - | - | -
SYSTEM D | 2 | RPPDA227 | RPP | - | - | -
SYSTEM D | 2 | RPPDA327 | RPP | - | - | -
SYSTEM D | 2 | RPPDA427 | RPP | - | - | -
SYSTEM D | 2 | RPPDA527 | RPP | - | - | -
SYSTEM D | 2 | RPPDA147 | RPP | - | - | -
SYSTEM D | 2 | RPPDA247 | RPP | - | - | -
SYSTEM D | 2 | RPPDA347 | RPP | - | - | -
SYSTEM D | 2 | RPPDA447 | RPP | - | - | -
SYSTEM D | 2 | RPPDA547 | RPP | - | - | -
SYSTEM D | 2 | RPPDA168 | RPP | - | - | -
SYSTEM D | 2 | RPPDA268 | RPP | - | - | -
SYSTEM D | 2 | RPPDA368 | RPP | - | - | -
SYSTEM D | 2 | RPPDA468 | RPP | - | - | -
SYSTEM D | 2 | RPPDA568 | RPP | - | - | -
SYSTEM D | 2 | RPPDA188 | RPP | - | - | -
SYSTEM D | 2 | RPPDA288 | RPP | - | - | -
SYSTEM D | 2 | RPPDA388 | RPP | - | - | -
SYSTEM D | 2 | RPPDA488 | RPP | - | - | -
SYSTEM D | 2 | RPPDA588 | RPP | - | - | -
SYSTEM D | 3 | GENDB100 | GEN | - | - | 3000kW/3750KVA, 480Y/277V, 3, , 4W, 0.80PF
SYSTEM D | 3 | GSBDB110 | GSB | - | - | 4000A, 480Y/277V, 3, , 4W, 65kAIC, 4000AF, 4000AT, 100%
SYSTEM D | 3 | TRNDB110 | TRN | - | - | -
SYSTEM D | 3 | GSBDA110 | GSB | - | - | -
SYSTEM D | 3 | GSBDC110 | GSB | - | - | -
SYSTEM D | 3 | MSBDB110 | MSB | TRNDB110 | - | 4000A, 480Y/277V, 3, WOODWARD PLC BREAKER TRANSFER CONTROLLER, , 4W, 100kAIC, S.E. RATED, BREAKER TRANSFER IS DELAYED OPEN TRANSITION
SYSTEM D | 3 | MDPDB110 | MDP | - | - | 600A, 480Y/277V, 3, , 3W, 65kAIC
SYSTEM D | 3 | UPSDB110 | UPS | - | - | 1000kVA/1000kW, 480Y/277V, 3, , 3W, INPUT, , 3W, OUTPUT
SYSTEM D | 3 | UPSDB210 | UPS | MDPDB110 | - | 1000kVA/1000kW, 480Y/277V, 3
SYSTEM D | 3 | EPPDZ110 | EPP | - | - | -
SYSTEM D | 3 | EPPDZ110 | EPP | - | - | -
SYSTEM D | 3 | EPPDZ110 | EPP | - | - | -
SYSTEM D | 3 | TRNDB310 | TRN | - | - | -
SYSTEM D | 3 | TRNDB410 | TRN | TRNDB310 | - | 480V:480Y/277, 30KVA, NEMA 1
SYSTEM D | 3 | UPBDB110 | UPB | - | - | -
SYSTEM D | 3 | UPBDB210 | UPB | - | - | -
SYSTEM D | 3 | UPBDB310 | UPB | - | - | -
SYSTEM D | 3 | UPBDB410 | UPB | - | - | -
SYSTEM D | 3 | UPBDB510 | UPB | - | - | -
SYSTEM D | 3 | UPBDB120 | UPB | - | - | -
SYSTEM D | 3 | UPBDB220 | UPB | - | - | -
SYSTEM D | 3 | UPBDB320 | UPB | EPPDZ110 | - | -
SYSTEM D | 3 | UPBDB420 | UPB | EPPDZ110 | - | -
SYSTEM D | 3 | UPBDB520 | UPB | EPPDZ110 | - | -
SYSTEM D | 3 | EPPDZ210 | EPP | UPBDB520 | EPPDZ110, EPPDZ110, EPPDZ110 | -
SYSTEM D | 3 | EPPDZ210 | EPP | ELPDB110 | EPPDZ110, EPPDZ110, EPPDZ110 | -
SYSTEM D | 3 | ELPDB110 | ELP | TRNDB310 | TRNDB410, EPPDZ110 | -
SYSTEM D | 3 | EPPDB230 | EPP | ELPDB110 | TRNDB410, TRNDB310 | -
SYSTEM D | 3 | MBCDB110 | MBC | UPBDB110 | UPBDB210 | 2500AF, 2500AT
SYSTEM D | 3 | TRNDB210 | TRN | EPPDB230 | ELPDB110, TRNDB410, TRNDB310 | -
SYSTEM D | 3 | ELPDB240 | ELP | TRNDB210 | EPPDB230, ELPDB110, TRNDB410 | -
SYSTEM D | 3 | EPPDB120 | EPP | TRNDB210 | ELPDB240, EPPDB230 | -
SYSTEM D | 3 | STSDB110 | STS | - | - | -
SYSTEM D | 3 | STSDB210 | STS | - | - | -
SYSTEM D | 4 | MBCDB110 | MBC | - | - | -
SYSTEM D | 4 | MBCDB110 | MBC | - | - | -
SYSTEM D | 4 | BSWDZ110 | BSW | MBCDB110 | - | -
SYSTEM D | 4 | BSWDZ110 | BSW | MBCDB110 | - | -
SYSTEM D | 4 | BSWDZ110 | BSW | - | - | -
SYSTEM D | 4 | STSDB110 | STS | BSWDZ110 | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
SYSTEM D | 4 | STSDB210 | STS | - | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
SYSTEM D | 4 | UDPDB110 | UDP | STSDB110 | - | 1600A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 4 | UDPDB220 | UDP | STSDB210 | - | 1600A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 4 | PDUDB110 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V, 65kAIC
SYSTEM D | 4 | PDUDB310 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V, 65kAIC
SYSTEM D | 4 | PDUDB520 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 4 | PDUDB720 | PDU | - | - | 500KVA, K4 RATING
SYSTEM D | 4 | TRNDB550 | TRN | - | - | -
SYSTEM D | 4 | RPPDB117 | RPP | - | - | -
SYSTEM D | 4 | RPPDB217 | RPP | - | - | -
SYSTEM D | 4 | RPPDB317 | RPP | - | - | -
SYSTEM D | 4 | RPPDB417 | RPP | - | - | -
SYSTEM D | 4 | RPPDB517 | RPP | - | - | -
SYSTEM D | 4 | RPPDB137 | RPP | - | - | -
SYSTEM D | 4 | RPPDB237 | RPP | - | - | -
SYSTEM D | 4 | RPPDB337 | RPP | - | - | -
SYSTEM D | 4 | RPPDB437 | RPP | - | - | -
SYSTEM D | 4 | RPPDB537 | RPP | - | - | -
SYSTEM D | 4 | RPPDB158 | RPP | - | - | -
SYSTEM D | 4 | RPPDB258 | RPP | TRNDB550 | - | -
SYSTEM D | 4 | RPPDB358 | RPP | TRNDB550 | - | -
SYSTEM D | 4 | RPPDB458 | RPP | TRNDB550 | - | -
SYSTEM D | 4 | RPPDB558 | RPP | TRNDB550 | - | -
SYSTEM D | 4 | RPPDB178 | RPP | TRNDB550 | - | -
SYSTEM D | 4 | RPPDB278 | RPP | - | - | -
SYSTEM D | 4 | RPPDB378 | RPP | - | - | -
SYSTEM D | 4 | RPPDB478 | RPP | - | - | -
SYSTEM D | 4 | RPPDB578 | RPP | - | - | -
SYSTEM D | 4 | RPPDB650 | RPP | RPPDB558 | RPPDB458, RPPDB358, RPPDB178, RPPDB258, TRNDB550 | -
SYSTEM D | 4 | MBCDB110 | MBC | RPPDB537 | RPPDB437, RPPDB337, RPPDB237, RPPDB158 | -
SYSTEM D | 4 | UDPDB310 | UDP | MBCDB110 | RPPDB337, RPPDB437, RPPDB537, RPPDB158, RPPDB258, RPPDB358, RPPDB458, RPPDB558 | 2500A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 4 | BSWDZ210 | BSW | - | - | -
SYSTEM D | 4 | BSWDZ310 | BSW | - | - | -
SYSTEM D | 4 | BSWDZ210 | BSW | - | - | -
SYSTEM D | 4 | BSWDZ210 | BSW | - | - | -
SYSTEM D | 4 | BSWDZ310 | BSW | - | - | -
SYSTEM D | 4 | ATSDB130 | ATS | BSWDZ210 | BSWDZ210 | 800A,480V, 3, , 3-POLE
SYSTEM D | 4 | ATSDB230 | ATS | - | - | 800A,480V, 3, , 3-POLE
SYSTEM D | 4 | ATSDB330 | ATS | BSWDZ310 | BSWDZ210, BSWDZ310 | 800A,480V, 3, , 3-POLE
SYSTEM D | 4 | ATSDB430 | ATS | - | - | -
SYSTEM D | 4 | PDUDB210 | PDU | ATSDB130 | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 4 | PDUDB420 | PDU | ATSDB230 | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 4 | PDUDB630 | PDU | ATSDB330 | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 4 | PDUDB840 | PDU | ATSDB430 | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 4 | RPPDB127 | RPP | - | - | -
SYSTEM D | 4 | RPPDB227 | RPP | - | - | -
SYSTEM D | 4 | RPPDB327 | RPP | - | - | -
SYSTEM D | 4 | RPPDB427 | RPP | - | - | -
SYSTEM D | 4 | RPPDB527 | RPP | - | - | -
SYSTEM D | 4 | RPPDB147 | RPP | - | - | -
SYSTEM D | 4 | RPPDB247 | RPP | - | - | -
SYSTEM D | 4 | RPPDB347 | RPP | - | - | -
SYSTEM D | 4 | RPPDB447 | RPP | - | - | -
SYSTEM D | 4 | RPPDB547 | RPP | - | - | -
SYSTEM D | 4 | RPPDB168 | RPP | - | - | -
SYSTEM D | 4 | RPPDB268 | RPP | - | - | -
SYSTEM D | 4 | RPPDB368 | RPP | - | - | -
SYSTEM D | 4 | RPPDB468 | RPP | - | - | -
SYSTEM D | 4 | RPPDB568 | RPP | - | - | -
SYSTEM D | 4 | RPPDB188 | RPP | - | - | -
SYSTEM D | 4 | RPPDB288 | RPP | - | - | -
SYSTEM D | 4 | RPPDB388 | RPP | - | - | -
SYSTEM D | 4 | RPPDB488 | RPP | - | - | -
SYSTEM D | 4 | RPPDB588 | RPP | - | - | -
SYSTEM D | 5 | GENDC100 | GEN | - | - | 3000kW/3750KVA, 480Y/277V, 3, , 4W, 0.80PF
SYSTEM D | 5 | GSBDC110 | GSB | - | - | 4000A, 480Y/277V, 3, , 4W, 65kAIC, 4000AF, 4000AT, 100%
SYSTEM D | 5 | TRNDC110 | TRN | - | - | -
SYSTEM D | 5 | GSBDB110 | GSB | - | - | -
SYSTEM D | 5 | GSBDZ110 | GSB | - | - | -
SYSTEM D | 5 | MSBDC110 | MSB | TRNDC110 | - | 4000A, 480Y/277V, 3, WOODWARD PLC BREAKER TRANSFER CONTROLLER, , 4W, 100kAIC, S.E. RATED, BREAKER TRANSFER IS DELAYED OPEN TRANSITION
SYSTEM D | 5 | MDPDC110 | MDP | - | - | 600A, 480Y/277V, 3, , 3W, 65kAIC
SYSTEM D | 5 | UPSDC110 | UPS | - | - | 1000kVA/1000kW, 480Y/277V, 3, , 3W, INPUT, , 3W, OUTPUT
SYSTEM D | 5 | UPSDC210 | UPS | MDPDC110 | - | 1000kVA/1000kW, 480Y/277V, 3
SYSTEM D | 5 | EPPDZ110 | EPP | - | - | -
SYSTEM D | 5 | EPPDZ110 | EPP | - | - | -
SYSTEM D | 5 | EPPDZ110 | EPP | - | - | -
SYSTEM D | 5 | TRNDC310 | TRN | - | - | 480V:480Y/277, 30KVA, NEMA 1
SYSTEM D | 5 | UPBDC110 | UPB | - | - | -
SYSTEM D | 5 | UPBDC210 | UPB | - | - | -
SYSTEM D | 5 | UPBDC310 | UPB | - | - | -
SYSTEM D | 5 | UPBDC410 | UPB | - | - | -
SYSTEM D | 5 | UPBDC510 | UPB | - | - | -
SYSTEM D | 5 | UPBDC120 | UPB | - | - | -
SYSTEM D | 5 | UPBDC220 | UPB | - | - | -
SYSTEM D | 5 | UPBDC320 | UPB | EPPDZ110 | - | -
SYSTEM D | 5 | UPBDC420 | UPB | EPPDZ110 | - | -
SYSTEM D | 5 | UPBDC520 | UPB | EPPDZ110 | - | -
SYSTEM D | 5 | EPPDZ210 | EPP | UPBDC520 | EPPDZ110, EPPDZ110, EPPDZ110 | -
SYSTEM D | 5 | EPPDZ210 | EPP | EPPDZ110 | EPPDZ110, EPPDZ110 | -
SYSTEM D | 5 | EPPDZ210 | EPP | ELPDC110 | EPPDZ110, EPPDZ110, EPPDZ110 | -
SYSTEM D | 5 | ELPDC110 | ELP | TRNDC310 | EPPDZ110 | -
SYSTEM D | 5 | MBCDC110 | MBC | UPBDC110 | UPBDC210 | 2500AF, 2500AT
SYSTEM D | 5 | TRNDC210 | TRN | ELPDC110 | EPPDZ210, TRNDC310 | -
SYSTEM D | 5 | ELPDC230 | ELP | TRNDC210 | ELPDC110, TRNDC310 | -
SYSTEM D | 5 | EPPDC120 | EPP | TRNDC210 | ELPDC230 | -
SYSTEM D | 5 | STSDC110 | STS | - | - | -
SYSTEM D | 5 | STSDC210 | STS | - | - | -
SYSTEM D | 6 | MBCDC110 | MBC | - | - | -
SYSTEM D | 6 | MBCDC110 | MBC | - | - | -
SYSTEM D | 6 | BSWDZ110 | BSW | MBCDC110 | - | -
SYSTEM D | 6 | BSWDZ110 | BSW | MBCDC110 | - | -
SYSTEM D | 6 | BSWDZ110 | BSW | - | - | -
SYSTEM D | 6 | STSDC110 | STS | BSWDZ110 | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
SYSTEM D | 6 | STSDC210 | STS | - | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
SYSTEM D | 6 | UDPDC110 | UDP | STSDC110 | - | 1600A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 6 | UDPDC220 | UDP | STSDC210 | - | 1600A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 6 | PDUDC110 | PDU | - | - | 500KVA, 480V:415Y/240V, 65kAIC
SYSTEM D | 6 | PDUDC310 | PDU | - | - | 500KVA, 480V:415Y/240V, 65kAIC
SYSTEM D | 6 | PDUDC520 | PDU | - | - | 500KVA, 480V:415Y/240V
SYSTEM D | 6 | PDUDC720 | PDU | - | - | 500KVA
SYSTEM D | 6 | RPPDC117 | RPP | - | - | -
SYSTEM D | 6 | RPPDC217 | RPP | - | - | -
SYSTEM D | 6 | RPPDC317 | RPP | - | - | -
SYSTEM D | 6 | RPPDC417 | RPP | - | - | -
SYSTEM D | 6 | RPPDC517 | RPP | - | - | -
SYSTEM D | 6 | RPPDC137 | RPP | - | - | -
SYSTEM D | 6 | RPPDC237 | RPP | - | - | -
SYSTEM D | 6 | RPPDC337 | RPP | - | - | -
SYSTEM D | 6 | RPPDC437 | RPP | - | - | -
SYSTEM D | 6 | RPPDC537 | RPP | - | - | -
SYSTEM D | 6 | RPPDC158 | RPP | - | - | -
SYSTEM D | 6 | RPPDC258 | RPP | - | - | -
SYSTEM D | 6 | RPPDC358 | RPP | - | - | -
SYSTEM D | 6 | RPPDC458 | RPP | - | - | -
SYSTEM D | 6 | RPPDC558 | RPP | - | - | -
SYSTEM D | 6 | RPPDC178 | RPP | - | - | -
SYSTEM D | 6 | RPPDC278 | RPP | - | - | -
SYSTEM D | 6 | RPPDC378 | RPP | - | - | -
SYSTEM D | 6 | RPPDC478 | RPP | - | - | -
SYSTEM D | 6 | RPPDC578 | RPP | - | - | -
SYSTEM D | 6 | MBCDC110 | MBC | RPPDC537 | RPPDC437, RPPDC337, RPPDC237, RPPDC158 | -
SYSTEM D | 6 | UDPDC310 | UDP | MBCDC110 | RPPDC337, RPPDC437, RPPDC537, RPPDC158, RPPDC258, RPPDC358, RPPDC458, RPPDC558 | 2500A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 6 | BSWDZ210 | BSW | - | - | -
SYSTEM D | 6 | BSWDZ310 | BSW | - | - | -
SYSTEM D | 6 | BSWDZ210 | BSW | - | - | -
SYSTEM D | 6 | BSWDZ210 | BSW | BSWDZ310 | - | -
SYSTEM D | 6 | BSWDZ310 | BSW | - | - | -
SYSTEM D | 6 | ATSDC130 | ATS | BSWDZ210 | BSWDZ210 | 800A,480V, 3, , 3-POLE
SYSTEM D | 6 | ATSDC230 | ATS | - | - | 800A,480V, 3, , 3-POLE
SYSTEM D | 6 | ATSDC330 | ATS | BSWDZ310 | BSWDZ210, BSWDZ310 | 800A,480V, 3, , 3-POLE
SYSTEM D | 6 | ATSDC430 | ATS | - | - | -
SYSTEM D | 6 | PDUDC210 | PDU | ATSDC130 | - | 500KVA, 480V:415Y/240V
SYSTEM D | 6 | PDUDC420 | PDU | ATSDC230 | - | 500KVA, 480V:415Y/240V
SYSTEM D | 6 | PDUDC630 | PDU | ATSDC330 | - | 500KVA, 480V:415Y/240V
SYSTEM D | 6 | PDUDC840 | PDU | ATSDC430 | - | 500KVA, 480V:415Y/240V
SYSTEM D | 6 | RPPDC127 | RPP | - | - | -
SYSTEM D | 6 | RPPDC227 | RPP | - | - | -
SYSTEM D | 6 | RPPDC327 | RPP | - | - | -
SYSTEM D | 6 | RPPDC427 | RPP | - | - | -
SYSTEM D | 6 | RPPDC527 | RPP | - | - | -
SYSTEM D | 6 | RPPDC147 | RPP | - | - | -
SYSTEM D | 6 | RPPDC247 | RPP | - | - | -
SYSTEM D | 6 | RPPDC347 | RPP | - | - | -
SYSTEM D | 6 | RPPDC447 | RPP | - | - | -
SYSTEM D | 6 | RPPDC547 | RPP | - | - | -
SYSTEM D | 6 | RPPDC168 | RPP | - | - | -
SYSTEM D | 6 | RPPDC268 | RPP | - | - | -
SYSTEM D | 6 | RPPDC368 | RPP | - | - | -
SYSTEM D | 6 | RPPDC468 | RPP | - | - | -
SYSTEM D | 6 | RPPDC568 | RPP | - | - | -
SYSTEM D | 6 | RPPDC188 | RPP | - | - | -
SYSTEM D | 6 | RPPDC288 | RPP | - | - | -
SYSTEM D | 6 | RPPDC388 | RPP | - | - | -
SYSTEM D | 6 | RPPDC488 | RPP | - | - | -
SYSTEM D | 6 | RPPDC588 | RPP | - | - | -
SYSTEM D | 7 | GENDD100 | GEN | - | - | 3000kW/3750KVA, 480Y/277V, 3, , 4W, 0.80PF
SYSTEM D | 7 | GSBDD110 | GSB | - | - | 4000A, 480Y/277V, 3, , 4W, 65kAIC, 4000AF, 4000AT, 100%
SYSTEM D | 7 | TRNDD110 | TRN | - | - | -
SYSTEM D | 7 | GSBDZ110 | GSB | - | - | -
SYSTEM D | 7 | GSBDE110 | GSB | - | - | -
SYSTEM D | 7 | MSBDD110 | MSB | TRNDD110 | - | 4000A, 480Y/277V, 3, WOODWARD PLC BREAKER TRANSFER CONTROLLER, , 4W, 100kAIC, S.E. RATED, BREAKER TRANSFER IS DELAYED OPEN TRANSITION
SYSTEM D | 7 | MDPDD110 | MDP | - | - | 600A, 480Y/277V, 3, , 3W, 65kAIC
SYSTEM D | 7 | UPSDD110 | UPS | - | - | 1000kVA/1000kW, 480Y/277V, 3, , 3W, INPUT, , 3W, OUTPUT
SYSTEM D | 7 | UPSDD210 | UPS | MDPDD110 | - | 1000kVA/1000kW, 480Y/277V, 3
SYSTEM D | 7 | EPPDZ110 | EPP | - | - | -
SYSTEM D | 7 | EPPDZ110 | EPP | - | - | -
SYSTEM D | 7 | EPPDZ110 | EPP | - | - | -
SYSTEM D | 7 | TRNDD310 | TRN | - | - | 480V:480Y/277, 30KVA, NEMA 1
SYSTEM D | 7 | UPBDD110 | UPB | - | - | -
SYSTEM D | 7 | UPBDD210 | UPB | - | - | -
SYSTEM D | 7 | UPBDD310 | UPB | - | - | -
SYSTEM D | 7 | UPBDD410 | UPB | - | - | -
SYSTEM D | 7 | UPBDD510 | UPB | - | - | -
SYSTEM D | 7 | UPBDD120 | UPB | - | - | -
SYSTEM D | 7 | UPBDD220 | UPB | - | - | -
SYSTEM D | 7 | UPBDD320 | UPB | EPPDZ110 | - | -
SYSTEM D | 7 | UPBDD420 | UPB | EPPDZ110 | - | -
SYSTEM D | 7 | UPBDD520 | UPB | EPPDZ110 | - | -
SYSTEM D | 7 | EPPDZ210 | EPP | UPBDD520 | EPPDZ110, EPPDZ110, EPPDZ110 | -
SYSTEM D | 7 | EPPDZ210 | EPP | EPPDZ110 | EPPDZ110, EPPDZ110 | -
SYSTEM D | 7 | EPPDZ210 | EPP | ELPDD110 | EPPDZ110, EPPDZ110, EPPDZ110 | -
SYSTEM D | 7 | ELPDD110 | ELP | TRNDD310 | EPPDZ110 | -
SYSTEM D | 7 | MBCDD110 | MBC | UPBDD110 | UPBDD210 | 2500AF, 2500AT
SYSTEM D | 7 | TRNDD210 | TRN | ELPDD110 | EPPDZ210, TRNDD310 | -
SYSTEM D | 7 | ELPDD230 | ELP | TRNDD210 | ELPDD110, TRNDD310 | -
SYSTEM D | 7 | EPPDD120 | EPP | TRNDD210 | ELPDD230 | -
SYSTEM D | 7 | STSDD110 | STS | - | - | -
SYSTEM D | 7 | STSDD210 | STS | - | - | -
SYSTEM D | 8 | MBCDD110 | MBC | - | - | -
SYSTEM D | 8 | MBCDD110 | MBC | - | - | -
SYSTEM D | 8 | BSWDZ110 | BSW | MBCDD110 | - | -
SYSTEM D | 8 | BSWDZ110 | BSW | MBCDD110 | - | -
SYSTEM D | 8 | BSWDZ110 | BSW | - | - | -
SYSTEM D | 8 | STSDD110 | STS | BSWDZ110 | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
SYSTEM D | 8 | STSDD210 | STS | - | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
SYSTEM D | 8 | UDPDD110 | UDP | STSDD110 | - | 1600A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 8 | UDPDD220 | UDP | STSDD210 | - | 1600A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 8 | PDUDD110 | PDU | - | - | 500KVA, 480V:415Y/240V, 65kAIC
SYSTEM D | 8 | PDUDD310 | PDU | - | - | 500KVA, 480V:415Y/240V, 65kAIC
SYSTEM D | 8 | PDUDD520 | PDU | - | - | 500KVA, 480V:415Y/240V
SYSTEM D | 8 | PDUDD720 | PDU | - | - | 500KVA
SYSTEM D | 8 | RPPDD117 | RPP | - | - | -
SYSTEM D | 8 | RPPDD217 | RPP | - | - | -
SYSTEM D | 8 | RPPDD317 | RPP | - | - | -
SYSTEM D | 8 | RPPDD417 | RPP | - | - | -
SYSTEM D | 8 | RPPDD517 | RPP | - | - | -
SYSTEM D | 8 | RPPDD137 | RPP | - | - | -
SYSTEM D | 8 | RPPDD237 | RPP | - | - | -
SYSTEM D | 8 | RPPDD337 | RPP | - | - | -
SYSTEM D | 8 | RPPDD437 | RPP | - | - | -
SYSTEM D | 8 | RPPDD537 | RPP | - | - | -
SYSTEM D | 8 | RPPDD158 | RPP | - | - | -
SYSTEM D | 8 | RPPDD258 | RPP | - | - | -
SYSTEM D | 8 | RPPDD358 | RPP | - | - | -
SYSTEM D | 8 | RPPDD458 | RPP | - | - | -
SYSTEM D | 8 | RPPDD558 | RPP | - | - | -
SYSTEM D | 8 | RPPDD178 | RPP | - | - | -
SYSTEM D | 8 | RPPDD278 | RPP | - | - | -
SYSTEM D | 8 | RPPDD378 | RPP | - | - | -
SYSTEM D | 8 | RPPDD478 | RPP | - | - | -
SYSTEM D | 8 | RPPDD578 | RPP | - | - | -
SYSTEM D | 8 | MBCDD110 | MBC | RPPDD537 | RPPDD437, RPPDD337, RPPDD237, RPPDD158 | -
SYSTEM D | 8 | UDPDD310 | UDP | MBCDD110 | RPPDD337, RPPDD437, RPPDD537, RPPDD158, RPPDD258, RPPDD358, RPPDD458, RPPDD558 | 2500A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 8 | BSWDZ210 | BSW | - | - | -
SYSTEM D | 8 | BSWDZ310 | BSW | - | - | -
SYSTEM D | 8 | BSWDZ210 | BSW | - | - | -
SYSTEM D | 8 | BSWDZ210 | BSW | - | - | -
SYSTEM D | 8 | BSWDZ310 | BSW | - | - | -
SYSTEM D | 8 | ATSDD130 | ATS | BSWDZ210 | BSWDZ210 | 800A,480V, 3, , 3-POLE
SYSTEM D | 8 | ATSDD230 | ATS | - | - | 800A,480V, 3, , 3-POLE
SYSTEM D | 8 | ATSDD330 | ATS | BSWDZ310 | BSWDZ210, BSWDZ310 | 800A,480V, 3, , 3-POLE
SYSTEM D | 8 | ATSDD430 | ATS | - | - | -
SYSTEM D | 8 | PDUDD210 | PDU | ATSDD130 | - | 500KVA, 480V:415Y/240V
SYSTEM D | 8 | PDUDD420 | PDU | ATSDD230 | - | 500KVA, 480V:415Y/240V
SYSTEM D | 8 | PDUDD630 | PDU | ATSDD330 | - | 500KVA, 480V:415Y/240V
SYSTEM D | 8 | PDUDD840 | PDU | ATSDD430 | - | 500KVA, 480V:415Y/240V
SYSTEM D | 8 | RPPDD127 | RPP | - | - | -
SYSTEM D | 8 | RPPDD227 | RPP | - | - | -
SYSTEM D | 8 | RPPDD327 | RPP | - | - | -
SYSTEM D | 8 | RPPDD427 | RPP | - | - | -
SYSTEM D | 8 | RPPDD527 | RPP | - | - | -
SYSTEM D | 8 | RPPDD147 | RPP | - | - | -
SYSTEM D | 8 | RPPDD247 | RPP | - | - | -
SYSTEM D | 8 | RPPDD347 | RPP | - | - | -
SYSTEM D | 8 | RPPDD447 | RPP | - | - | -
SYSTEM D | 8 | RPPDD547 | RPP | - | - | -
SYSTEM D | 8 | RPPDD168 | RPP | - | - | -
SYSTEM D | 8 | RPPDD268 | RPP | - | - | -
SYSTEM D | 8 | RPPDD368 | RPP | - | - | -
SYSTEM D | 8 | RPPDD468 | RPP | - | - | -
SYSTEM D | 8 | RPPDD568 | RPP | - | - | -
SYSTEM D | 8 | RPPDD188 | RPP | - | - | -
SYSTEM D | 8 | RPPDD288 | RPP | - | - | -
SYSTEM D | 8 | RPPDD388 | RPP | - | - | -
SYSTEM D | 8 | RPPDD488 | RPP | - | - | -
SYSTEM D | 8 | RPPDD588 | RPP | - | - | -
SYSTEM D | 9 | GENDE100 | GEN | - | - | 3000kW/3750KVA, 480Y/277V, 3, , 4W, 0.80PF
SYSTEM D | 9 | GSBDE110 | GSB | - | - | 4000A, 480Y/277V, 3, , 4W, 65kAIC, 4000AF, 4000AT, 100%
SYSTEM D | 9 | TRNDE110 | TRN | - | - | -
SYSTEM D | 9 | GSBDD110 | GSB | - | - | -
SYSTEM D | 9 | GSBDF110 | GSB | - | - | -
SYSTEM D | 9 | MSBDE110 | MSB | TRNDE110 | - | 4000A, 480Y/277V, 3, WOODWARD PLC BREAKER TRANSFER CONTROLLER, , 4W, 100kAIC, S.E. RATED, BREAKER TRANSFER IS DELAYED OPEN TRANSITION
SYSTEM D | 9 | MDPDE110 | MDP | - | - | 600A, 480Y/277V, 3, , 3W, 65kAIC
SYSTEM D | 9 | UPSDE110 | UPS | - | - | 1000kVA/1000kW, 480Y/277V, 3, , 3W, INPUT, , 3W, OUTPUT
SYSTEM D | 9 | UPSDE210 | UPS | MDPDE110 | - | 1000kVA/1000kW, 480Y/277V, 3
SYSTEM D | 9 | EPPDZ110 | EPP | - | - | -
SYSTEM D | 9 | EPPDZ110 | EPP | - | - | -
SYSTEM D | 9 | TRNDE310 | TRN | - | - | 480V:480Y/277, 30KVA, NEMA 1
SYSTEM D | 9 | UPBDE110 | UPB | - | - | -
SYSTEM D | 9 | UPBDE210 | UPB | - | - | -
SYSTEM D | 9 | UPBDE310 | UPB | - | - | -
SYSTEM D | 9 | UPBDE410 | UPB | - | - | -
SYSTEM D | 9 | UPBDE510 | UPB | - | - | -
SYSTEM D | 9 | UPBDE120 | UPB | - | - | -
SYSTEM D | 9 | UPBDE220 | UPB | - | - | -
SYSTEM D | 9 | UPBDE320 | UPB | EPPDZ110 | - | -
SYSTEM D | 9 | UPBDE420 | UPB | EPPDZ110 | - | -
SYSTEM D | 9 | UPBDE520 | UPB | EPPDZ110 | - | -
SYSTEM D | 9 | EPPDZ210 | EPP | UPBDE520 | EPPDZ110, EPPDZ110 | -
SYSTEM D | 9 | EPPDZ210 | EPP | ELPDE110 | EPPDZ110, EPPDZ110 | -
SYSTEM D | 9 | EPPDZ210 | EPP | ELPDE110 | EPPDZ110, EPPDZ110 | -
SYSTEM D | 9 | ELPDE110 | ELP | TRNDE310 | - | -
SYSTEM D | 9 | MBCDE110 | MBC | UPBDE110 | UPBDE210 | 2500AF, 2500AT
SYSTEM D | 9 | TRNDE210 | TRN | ELPDE110 | EPPDZ210, TRNDE310 | -
SYSTEM D | 9 | ELPDE230 | ELP | TRNDE210 | ELPDE110, TRNDE310 | -
SYSTEM D | 9 | EPPDE120 | EPP | TRNDE210 | ELPDE230 | -
SYSTEM D | 9 | STSDE110 | STS | - | - | -
SYSTEM D | 9 | STSDE210 | STS | - | - | -
SYSTEM D | 10 | MBCDE110 | MBC | - | - | -
SYSTEM D | 10 | MBCDE110 | MBC | - | - | -
SYSTEM D | 10 | BSWDZ110 | BSW | MBCDE110 | - | -
SYSTEM D | 10 | BSWDZ110 | BSW | MBCDE110 | - | -
SYSTEM D | 10 | BSWDZ110 | BSW | - | - | -
SYSTEM D | 10 | STSDE110 | STS | BSWDZ110 | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
SYSTEM D | 10 | STSDE210 | STS | - | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
SYSTEM D | 10 | UDPDE110 | UDP | STSDE110 | - | 1600A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 10 | UDPDE220 | UDP | STSDE210 | - | 1600A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 10 | PDUDE110 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V, 65kAIC
SYSTEM D | 10 | PDUDE310 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V, 65kAIC
SYSTEM D | 10 | PDUDE520 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 10 | PDUDE720 | PDU | - | - | 500KVA, K4 RATING
SYSTEM D | 10 | TRNDE450 | TRN | - | - | -
SYSTEM D | 10 | RPPDE117 | RPP | - | - | -
SYSTEM D | 10 | RPPDE217 | RPP | - | - | -
SYSTEM D | 10 | RPPDE317 | RPP | - | - | -
SYSTEM D | 10 | RPPDE417 | RPP | - | - | -
SYSTEM D | 10 | RPPDE517 | RPP | - | - | -
SYSTEM D | 10 | RPPDE137 | RPP | - | - | -
SYSTEM D | 10 | RPPDE237 | RPP | - | - | -
SYSTEM D | 10 | RPPDE337 | RPP | - | - | -
SYSTEM D | 10 | RPPDE437 | RPP | - | - | -
SYSTEM D | 10 | RPPDE537 | RPP | - | - | -
SYSTEM D | 10 | RPPDE158 | RPP | - | - | -
SYSTEM D | 10 | RPPDE258 | RPP | TRNDE450 | - | -
SYSTEM D | 10 | RPPDE358 | RPP | TRNDE450 | - | -
SYSTEM D | 10 | RPPDE458 | RPP | TRNDE450 | - | -
SYSTEM D | 10 | RPPDE558 | RPP | TRNDE450 | - | -
SYSTEM D | 10 | RPPDE178 | RPP | TRNDE450 | - | -
SYSTEM D | 10 | RPPDE278 | RPP | - | - | -
SYSTEM D | 10 | RPPDE378 | RPP | - | - | -
SYSTEM D | 10 | RPPDE478 | RPP | - | - | -
SYSTEM D | 10 | RPPDE578 | RPP | - | - | -
SYSTEM D | 10 | RPPDE650 | RPP | RPPDE558 | RPPDE458, RPPDE358, RPPDE178, RPPDE258, TRNDE450 | -
SYSTEM D | 10 | MBCDE110 | MBC | RPPDE537 | RPPDE437, RPPDE337, RPPDE237, RPPDE158 | -
SYSTEM D | 10 | UDPDE310 | UDP | MBCDE110 | RPPDE337, RPPDE437, RPPDE537, RPPDE158, RPPDE258, RPPDE358, RPPDE458, RPPDE558 | 2500A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 10 | BSWDZ210 | BSW | - | - | -
SYSTEM D | 10 | BSWDZ310 | BSW | - | - | -
SYSTEM D | 10 | BSWDZ210 | BSW | - | - | -
SYSTEM D | 10 | BSWDZ210 | BSW | - | - | -
SYSTEM D | 10 | BSWDZ310 | BSW | - | - | -
SYSTEM D | 10 | ATSDE130 | ATS | BSWDZ210 | BSWDZ210 | 800A,480V, 3, , 3-POLE
SYSTEM D | 10 | ATSDE230 | ATS | - | - | 800A,480V, 3, , 3-POLE
SYSTEM D | 10 | ATSDE330 | ATS | BSWDZ310 | BSWDZ210, BSWDZ310 | 800A,480V, 3, , 3-POLE
SYSTEM D | 10 | ATSDE430 | ATS | - | - | -
SYSTEM D | 10 | PDUDE210 | PDU | ATSDE130 | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 10 | PDUDE420 | PDU | ATSDE230 | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 10 | PDUDE630 | PDU | ATSDE330 | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 10 | PDUDE840 | PDU | ATSDE430 | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 10 | RPPDE127 | RPP | - | - | -
SYSTEM D | 10 | RPPDE227 | RPP | - | - | -
SYSTEM D | 10 | RPPDE327 | RPP | - | - | -
SYSTEM D | 10 | RPPDE427 | RPP | - | - | -
SYSTEM D | 10 | RPPDE527 | RPP | - | - | -
SYSTEM D | 10 | RPPDE147 | RPP | - | - | -
SYSTEM D | 10 | RPPDE247 | RPP | - | - | -
SYSTEM D | 10 | RPPDE347 | RPP | - | - | -
SYSTEM D | 10 | RPPDE447 | RPP | - | - | -
SYSTEM D | 10 | RPPDE547 | RPP | - | - | -
SYSTEM D | 10 | RPPDE168 | RPP | - | - | -
SYSTEM D | 10 | RPPDE268 | RPP | - | - | -
SYSTEM D | 10 | RPPDE368 | RPP | - | - | -
SYSTEM D | 10 | RPPDE468 | RPP | - | - | -
SYSTEM D | 10 | RPPDE568 | RPP | - | - | -
SYSTEM D | 10 | RPPDE188 | RPP | - | - | -
SYSTEM D | 10 | RPPDE288 | RPP | - | - | -
SYSTEM D | 10 | RPPDE388 | RPP | - | - | -
SYSTEM D | 10 | RPPDE488 | RPP | - | - | -
SYSTEM D | 10 | RPPDE588 | RPP | - | - | -
SYSTEM D | 11 | GENDF100 | GEN | - | - | 3000kW/3750KVA, 480Y/277V, 3, , 4W, 0.80PF
SYSTEM D | 11 | GSBDF110 | GSB | - | - | 4000A, 480Y/277V, 3, , 4W, 65kAIC, 4000AF, 4000AT, 100%
SYSTEM D | 11 | TRNDF110 | TRN | - | - | -
SYSTEM D | 11 | GSBDE110 | GSB | - | - | -
SYSTEM D | 11 | MSBDF110 | MSB | TRNDF110 | - | 4000A, 480Y/277V, 3, WOODWARD PLC BREAKER TRANSFER CONTROLLER, , 4W, 100kAIC, S.E. RATED, BREAKER TRANSFER IS DELAYED OPEN TRANSITION
SYSTEM D | 11 | MDPDF110 | MDP | - | - | 600A, 480Y/277V, 3, , 3W, 65kAIC
SYSTEM D | 11 | UPSDF110 | UPS | - | - | 1000kVA/1000kW, 480Y/277V, 3, , 3W, INPUT, , 3W, OUTPUT
SYSTEM D | 11 | UPSDF210 | UPS | MDPDF110 | - | 1000kVA/1000kW, 480Y/277V, 3
SYSTEM D | 11 | EPPDZ110 | EPP | - | - | -
SYSTEM D | 11 | EPPDZ110 | EPP | - | - | -
SYSTEM D | 11 | TRNDF310 | TRN | - | - | 480V:208Y/120, 75KVA, NEMA 1
SYSTEM D | 11 | UPBDF110 | UPB | - | - | -
SYSTEM D | 11 | UPBDF210 | UPB | - | - | -
SYSTEM D | 11 | UPBDF310 | UPB | - | - | -
SYSTEM D | 11 | UPBDF410 | UPB | - | - | -
SYSTEM D | 11 | UPBDF510 | UPB | - | - | -
SYSTEM D | 11 | UPBDF120 | UPB | - | - | -
SYSTEM D | 11 | UPBDF220 | UPB | - | - | -
SYSTEM D | 11 | UPBDF320 | UPB | EPPDZ110 | - | -
SYSTEM D | 11 | UPBDF420 | UPB | EPPDZ110 | - | -
SYSTEM D | 11 | UPBDF520 | UPB | EPPDZ110 | - | -
SYSTEM D | 11 | EPPDZ210 | EPP | UPBDF520 | EPPDZ110, EPPDZ110 | -
SYSTEM D | 11 | EPPDZ210 | EPP | ELPDF110 | EPPDZ110, EPPDZ110 | -
SYSTEM D | 11 | EPPDZ210 | EPP | ELPDF110 | EPPDZ110, EPPDZ110 | -
SYSTEM D | 11 | ELPDF110 | ELP | TRNDF310 | - | -
SYSTEM D | 11 | MBCDF110 | MBC | UPBDF110 | UPBDF210 | 2500AF, 2500AT
SYSTEM D | 11 | TRNDF210 | TRN | EPPDF230 | EPPDZ210, ELPDF110, TRNDF310 | -
SYSTEM D | 11 | EPPDF230 | EPP | ELPDF110 | TRNDF310 | -
SYSTEM D | 11 | EPPDF120 | EPP | TRNDF210 | EPPDF230 | -
SYSTEM D | 11 | EPPDF320 | EPP | EPPDF230 | TRNDF210 | -
SYSTEM D | 11 | STSDF110 | STS | - | - | -
SYSTEM D | 11 | STSDF210 | STS | - | - | -
SYSTEM D | 12 | MBCDF110 | MBC | - | - | -
SYSTEM D | 12 | MBCDF110 | MBC | - | - | -
SYSTEM D | 12 | BSWDZ110 | BSW | MBCDF110 | - | -
SYSTEM D | 12 | BSWDZ110 | BSW | - | - | -
SYSTEM D | 12 | STSDF110 | STS | - | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
SYSTEM D | 12 | STSDF210 | STS | - | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
SYSTEM D | 12 | UDPDF110 | UDP | STSDF110 | - | 1600A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 12 | UDPDF220 | UDP | STSDF210 | - | 1600A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 12 | PDUDF110 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V, 65kAIC
SYSTEM D | 12 | PDUDF310 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V, 65kAIC
SYSTEM D | 12 | PDUDF520 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 12 | PDUDF720 | PDU | - | - | 500KVA, K4 RATING
SYSTEM D | 12 | TRNDF410 | TRN | - | - | -
SYSTEM D | 12 | RPPDF117 | RPP | - | - | -
SYSTEM D | 12 | RPPDF217 | RPP | TRNDF410 | - | -
SYSTEM D | 12 | RPPDF317 | RPP | TRNDF410 | - | -
SYSTEM D | 12 | RPPDF417 | RPP | TRNDF410 | - | -
SYSTEM D | 12 | RPPDF517 | RPP | TRNDF410 | - | -
SYSTEM D | 12 | RPPDF137 | RPP | TRNDF410 | - | -
SYSTEM D | 12 | RPPDF237 | RPP | TRNDF410 | - | -
SYSTEM D | 12 | RPPDF337 | RPP | - | - | -
SYSTEM D | 12 | RPPDF437 | RPP | - | - | -
SYSTEM D | 12 | RPPDF537 | RPP | - | - | -
SYSTEM D | 12 | RPPDF158 | RPP | - | - | -
SYSTEM D | 12 | RPPDF258 | RPP | - | - | -
SYSTEM D | 12 | RPPDF358 | RPP | - | - | -
SYSTEM D | 12 | RPPDF458 | RPP | - | - | -
SYSTEM D | 12 | RPPDF558 | RPP | - | - | -
SYSTEM D | 12 | RPPDF178 | RPP | - | - | -
SYSTEM D | 12 | RPPDF278 | RPP | - | - | -
SYSTEM D | 12 | RPPDF378 | RPP | - | - | -
SYSTEM D | 12 | RPPDF478 | RPP | - | - | -
SYSTEM D | 12 | RPPDF578 | RPP | - | - | -
SYSTEM D | 12 | RPPDF610 | RPP | RPPDF517 | RPPDF417, RPPDF317, RPPDF137, RPPDF217, RPPDF237, TRNDF410 | -
SYSTEM D | 12 | MBCDF110 | MBC | RPPDF537 | RPPDF437, RPPDF337, RPPDF237, RPPDF158 | -
SYSTEM D | 12 | UDPDF310 | UDP | MBCDF110 | RPPDF337, RPPDF437, RPPDF537, RPPDF158, RPPDF258, RPPDF358, RPPDF458, RPPDF558 | 2500A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 12 | BSWDZ210 | BSW | - | - | -
SYSTEM D | 12 | BSWDZ310 | BSW | - | - | -
SYSTEM D | 12 | BSWDZ210 | BSW | - | - | -
SYSTEM D | 12 | BSWDZ210 | BSW | - | - | -
SYSTEM D | 12 | BSWDZ310 | BSW | BSWDZ210 | - | -
SYSTEM D | 12 | ATSDF130 | ATS | BSWDZ210 | BSWDZ210 | 800A,480V, 3, , 3-POLE
SYSTEM D | 12 | ATSDF230 | ATS | - | - | 800A,480V, 3, , 3-POLE
SYSTEM D | 12 | ATSDF330 | ATS | BSWDZ310 | BSWDZ210, BSWDZ310 | 800A,480V, 3, , 3-POLE
SYSTEM D | 12 | ATSDF430 | ATS | - | - | -
SYSTEM D | 12 | PDUDF210 | PDU | ATSDF130 | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 12 | PDUDF420 | PDU | ATSDF230 | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 12 | PDUDF630 | PDU | ATSDF330 | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 12 | PDUDF840 | PDU | ATSDF430 | - | 500KVA, K4 RATING, 480V:415Y/240V
SYSTEM D | 12 | RPPDF127 | RPP | - | - | -
SYSTEM D | 12 | RPPDF227 | RPP | - | - | -
SYSTEM D | 12 | RPPDF327 | RPP | - | - | -
SYSTEM D | 12 | RPPDF427 | RPP | - | - | -
SYSTEM D | 12 | RPPDF527 | RPP | - | - | -
SYSTEM D | 12 | RPPDF147 | RPP | - | - | -
SYSTEM D | 12 | RPPDF247 | RPP | - | - | -
SYSTEM D | 12 | RPPDF347 | RPP | - | - | -
SYSTEM D | 12 | RPPDF447 | RPP | - | - | -
SYSTEM D | 12 | RPPDF547 | RPP | - | - | -
SYSTEM D | 12 | RPPDF168 | RPP | - | - | -
SYSTEM D | 12 | RPPDF268 | RPP | - | - | -
SYSTEM D | 12 | RPPDF368 | RPP | - | - | -
SYSTEM D | 12 | RPPDF468 | RPP | - | - | -
SYSTEM D | 12 | RPPDF568 | RPP | - | - | -
SYSTEM D | 12 | RPPDF188 | RPP | - | - | -
SYSTEM D | 12 | RPPDF288 | RPP | - | - | -
SYSTEM D | 12 | RPPDF388 | RPP | - | - | -
SYSTEM D | 12 | RPPDF488 | RPP | - | - | -
SYSTEM D | 12 | RPPDF588 | RPP | - | - | -
SYSTEM D | 13 | GENDZ100 | GEN | - | - | 3000kW/3750KVA, 480Y/277V, 3, , 4W, 0.80PF
SYSTEM D | 13 | GSBDZ110 | GSB | - | - | 4000A, 480Y/277V, 3, , 4W, 65kAIC, 4000AF, 4000AT, 100%
SYSTEM D | 13 | TRNDZ110 | TRN | - | - | -
SYSTEM D | 13 | GSBDC110 | GSB | GSBDD110 | - | -
SYSTEM D | 13 | GSBDD110 | GSB | - | - | -
SYSTEM D | 13 | MSBDZ110 | MSB | TRNDZ110 | - | 4000A, 480Y/277V, 3, , 4W, 100kAIC, S.E. RATED, WOODWARD PLC BREAKER TRANSFER CONTROLLER, BREAKER TRANSFER IS DELAYED OPEN TRANSITION
SYSTEM D | 13 | MDPDZ110 | MDP | - | - | 600A, 480V, 3, , 3W, 65kAIC
SYSTEM D | 13 | ELPDZ110 | ELP | - | - | -
SYSTEM D | 13 | UPSDZ110 | UPS | - | - | 1000kVA/1000kW, 480Y/277V, 3, , 3W, INPUT, , 3W, OUTPUT
SYSTEM D | 13 | UPSDZ210 | UPS | - | - | 1000kVA/1000kW, 480Y/277V, 3
SYSTEM D | 13 | TRNDZ210 | TRN | ELPDZ110 | - | 480V:208Y/120, 45KVA, NEMA 1
SYSTEM D | 13 | EPPDZ120 | EPP | TRNDZ210 | - | -
SYSTEM D | 13 | EPPDZ210 | EPP | EPPDZ120 | - | 150A, 480V, 3, , 3W, 35kAIC
SYSTEM D | 13 | UPBDZ110 | UPB | - | - | -
SYSTEM D | 13 | UPBDZ210 | UPB | - | - | -
SYSTEM D | 13 | UPBDZ310 | UPB | - | - | -
SYSTEM D | 13 | UPBDZ410 | UPB | - | - | -
SYSTEM D | 13 | UPBDZ510 | UPB | - | - | -
SYSTEM D | 13 | UPBDZ120 | UPB | - | - | -
SYSTEM D | 13 | UPBDZ220 | UPB | - | - | -
SYSTEM D | 13 | UPBDZ320 | UPB | - | - | -
SYSTEM D | 13 | UPBDZ420 | UPB | - | - | -
SYSTEM D | 13 | UPBDZ520 | UPB | - | - | -
SYSTEM D | 13 | MBCDZ110 | MBC | UPBDZ110 | UPBDZ210 | 2500AF, 2500AT, 2500A, 480V, 3, , 3W, 100kAIC, 100%
SYSTEM D | 13 | EPPDZ110 | EPP | - | - | 150A, 480V, 3, , 3W, 35kAIC
SYSTEM D | 13 | BSWDZ110 | BSW | - | - | -
SYSTEM D | 13 | BSWDZ110 | BSW | - | - | -
SYSTEM D | 13 | BSWDZ110 | BSW | - | - | -
SYSTEM D | 13 | BSWDZ210 | BSW | BSWDZ110 | BSWDZ110, BSWDZ110 | 1600A, 480V, 3, , 3W, N1, 65kAIC, TYPE I-LINE
SYSTEM D | 13 | BSWDZ210 | BSW | BSWDZ110 | BSWDZ110 | -
SYSTEM D | 13 | BSWDZ310 | BSW | BSWDZ210 | BSWDZ210, BSWDZ110, BSWDZ110, BSWDZ110 | 1600A, 480V, 3, , 3W, N1, 65kAIC, TYPE I-LINE
SYSTEM D | 13 | BSWDZ310 | BSW | BSWDZ210 | BSWDZ210, BSWDZ110 | -

## SYSTEM D
Page | Equipment | Type | Primary From | Alternate From | Properties
1 | GENDA100 | GEN | - | - | 3000kW/3750KVA, 480Y/277V, 3, , 4W, 0.80PF
1 | GSBDA110 | GSB | - | - | 4000A, 480Y/277V, 3, , 4W, 65kAIC, 4000AF, 4000AT, 100%
1 | TRNDA110 | TRN | - | - | -
1 | GSBDB110 | GSB | - | - | -
1 | MSBDA110 | MSB | TRNDA110 | - | 4000A, 480Y/277V, 3, WOODWARD PLC BREAKER TRANSFER CONTROLLER, , 4W, 100kAIC, S.E. RATED, BREAKER TRANSFER IS DELAYED OPEN TRANSITION
1 | MDPDA110 | MDP | - | - | 600A, 480Y/277V, 3, , 3W, 65kAIC
1 | UPSDA110 | UPS | - | - | 1000kVA/1000kW, 480Y/277V, 3, , 3W, INPUT, , 3W, OUTPUT
1 | UPSDA210 | UPS | MDPDA110 | - | 1000kVA/1000kW, 480Y/277V, 3
1 | EPPDZ110 | EPP | - | - | -
1 | EPPDZ110 | EPP | - | - | -
1 | EPPDZ110 | EPP | - | - | -
1 | TRNDA310 | TRN | - | - | 480V:208Y/120, 75KVA, NEMA 1
1 | UPBDA110 | UPB | - | - | -
1 | UPBDA210 | UPB | - | - | -
1 | UPBDA310 | UPB | - | - | -
1 | UPBDA410 | UPB | - | - | -
1 | UPBDA510 | UPB | - | - | -
1 | UPBDA120 | UPB | - | - | -
1 | UPBDA220 | UPB | - | - | -
1 | UPBDA320 | UPB | EPPDZ110 | - | -
1 | UPBDA420 | UPB | EPPDZ110 | - | -
1 | UPBDA520 | UPB | EPPDZ110 | - | -
1 | EPPDZ210 | EPP | UPBDA520 | EPPDZ110, EPPDZ110, EPPDZ110 | -
1 | EPPDZ210 | EPP | ELPDA110 | EPPDZ110, EPPDZ110, EPPDZ110 | -
1 | ELPDA110 | ELP | TRNDA310 | EPPDZ110 | -
1 | MBCDA110 | MBC | UPBDA110 | UPBDA210 | 2500AF, 2500AT
1 | TRNDA210 | TRN | EPPDA230 | ELPDA110, TRNDA310 | -
1 | EPPDA230 | EPP | ELPDA110 | TRNDA310 | -
1 | EPPDA120 | EPP | TRNDA210 | EPPDA230 | -
1 | EPPDA320 | EPP | EPPDA230 | TRNDA210 | -
1 | STSDA110 | STS | - | - | -
1 | STSDA210 | STS | - | - | -
2 | MBCDA110 | MBC | - | - | -
2 | MBCDA110 | MBC | - | - | -
2 | BSWDZ110 | BSW | MBCDA110 | - | -
2 | BSWDZ110 | BSW | MBCDA110 | - | -
2 | STSDA110 | STS | BSWDZ110 | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
2 | STSDA210 | STS | - | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
2 | UDPDA110 | UDP | STSDA110 | - | 1600A, 480V, 3, , 3W, 65kAIC
2 | UDPDA220 | UDP | STSDA210 | - | 1600A, 480V, 3, , 3W, 65kAIC
2 | PDUDA110 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V, 65kAIC
2 | PDUDA310 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V, 65kAIC
2 | PDUDA520 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V
2 | PDUDA720 | PDU | - | - | 500KVA, K4 RATING
2 | TRNDA410 | TRN | - | - | -
2 | RPPDA117 | RPP | - | - | -
2 | RPPDA217 | RPP | TRNDA410 | - | -
2 | RPPDA317 | RPP | TRNDA410 | - | -
2 | RPPDA417 | RPP | TRNDA410 | - | -
2 | RPPDA517 | RPP | TRNDA410 | - | -
2 | RPPDA137 | RPP | TRNDA410 | - | -
2 | RPPDA237 | RPP | TRNDA410 | - | -
2 | RPPDA337 | RPP | - | - | -
2 | RPPDA437 | RPP | - | - | -
2 | RPPDA537 | RPP | - | - | -
2 | RPPDA158 | RPP | - | - | -
2 | RPPDA258 | RPP | - | - | -
2 | RPPDA358 | RPP | - | - | -
2 | RPPDA458 | RPP | - | - | -
2 | RPPDA558 | RPP | - | - | -
2 | RPPDA178 | RPP | - | - | -
2 | RPPDA278 | RPP | - | - | -
2 | RPPDA378 | RPP | - | - | -
2 | RPPDA478 | RPP | - | - | -
2 | RPPDA578 | RPP | - | - | -
2 | RPPDA610 | RPP | RPPDA517 | RPPDA417, RPPDA317, RPPDA137, RPPDA217, RPPDA237, TRNDA410 | -
2 | MBCDA110 | MBC | RPPDA537 | RPPDA437, RPPDA337, RPPDA237, RPPDA158 | -
2 | UDPDA310 | UDP | MBCDA110 | RPPDA337, RPPDA437, RPPDA537, RPPDA158, RPPDA258, RPPDA358, RPPDA458, RPPDA558 | 2500A, 480V, 3, , 3W, 65kAIC
2 | BSWDZ210 | BSW | - | - | -
2 | BSWDZ310 | BSW | - | - | -
2 | BSWDZ210 | BSW | - | - | -
2 | BSWDZ310 | BSW | - | - | -
2 | ATSDA130 | ATS | BSWDZ210 | BSWDZ210 | 800A,480V, 3, , 3-POLE
2 | ATSDA230 | ATS | - | - | 800A,480V, 3, , 3-POLE
2 | ATSDA330 | ATS | BSWDZ310 | BSWDZ310 | 800A,480V, 3, , 3-POLE
2 | ATSDA430 | ATS | - | - | -
2 | PDUDA210 | PDU | ATSDA130 | - | 500KVA, K4 RATING, 480V:415Y/240V
2 | PDUDA420 | PDU | ATSDA230 | - | 500KVA, K4 RATING, 480V:415Y/240V
2 | PDUDA630 | PDU | ATSDA330 | - | 500KVA, K4 RATING, 480V:415Y/240V
2 | PDUDA840 | PDU | ATSDA430 | - | 500KVA, K4 RATING, 480V:415Y/240V
2 | RPPDA127 | RPP | - | - | -
2 | RPPDA227 | RPP | - | - | -
2 | RPPDA327 | RPP | - | - | -
2 | RPPDA427 | RPP | - | - | -
2 | RPPDA527 | RPP | - | - | -
2 | RPPDA147 | RPP | - | - | -
2 | RPPDA247 | RPP | - | - | -
2 | RPPDA347 | RPP | - | - | -
2 | RPPDA447 | RPP | - | - | -
2 | RPPDA547 | RPP | - | - | -
2 | RPPDA168 | RPP | - | - | -
2 | RPPDA268 | RPP | - | - | -
2 | RPPDA368 | RPP | - | - | -
2 | RPPDA468 | RPP | - | - | -
2 | RPPDA568 | RPP | - | - | -
2 | RPPDA188 | RPP | - | - | -
2 | RPPDA288 | RPP | - | - | -
2 | RPPDA388 | RPP | - | - | -
2 | RPPDA488 | RPP | - | - | -
2 | RPPDA588 | RPP | - | - | -
3 | GENDB100 | GEN | - | - | 3000kW/3750KVA, 480Y/277V, 3, , 4W, 0.80PF
3 | GSBDB110 | GSB | - | - | 4000A, 480Y/277V, 3, , 4W, 65kAIC, 4000AF, 4000AT, 100%
3 | TRNDB110 | TRN | - | - | -
3 | GSBDA110 | GSB | - | - | -
3 | GSBDC110 | GSB | - | - | -
3 | MSBDB110 | MSB | TRNDB110 | - | 4000A, 480Y/277V, 3, WOODWARD PLC BREAKER TRANSFER CONTROLLER, , 4W, 100kAIC, S.E. RATED, BREAKER TRANSFER IS DELAYED OPEN TRANSITION
3 | MDPDB110 | MDP | - | - | 600A, 480Y/277V, 3, , 3W, 65kAIC
3 | UPSDB110 | UPS | - | - | 1000kVA/1000kW, 480Y/277V, 3, , 3W, INPUT, , 3W, OUTPUT
3 | UPSDB210 | UPS | MDPDB110 | - | 1000kVA/1000kW, 480Y/277V, 3
3 | EPPDZ110 | EPP | - | - | -
3 | EPPDZ110 | EPP | - | - | -
3 | EPPDZ110 | EPP | - | - | -
3 | TRNDB310 | TRN | - | - | -
3 | TRNDB410 | TRN | TRNDB310 | - | 480V:480Y/277, 30KVA, NEMA 1
3 | UPBDB110 | UPB | - | - | -
3 | UPBDB210 | UPB | - | - | -
3 | UPBDB310 | UPB | - | - | -
3 | UPBDB410 | UPB | - | - | -
3 | UPBDB510 | UPB | - | - | -
3 | UPBDB120 | UPB | - | - | -
3 | UPBDB220 | UPB | - | - | -
3 | UPBDB320 | UPB | EPPDZ110 | - | -
3 | UPBDB420 | UPB | EPPDZ110 | - | -
3 | UPBDB520 | UPB | EPPDZ110 | - | -
3 | EPPDZ210 | EPP | UPBDB520 | EPPDZ110, EPPDZ110, EPPDZ110 | -
3 | EPPDZ210 | EPP | ELPDB110 | EPPDZ110, EPPDZ110, EPPDZ110 | -
3 | ELPDB110 | ELP | TRNDB310 | TRNDB410, EPPDZ110 | -
3 | EPPDB230 | EPP | ELPDB110 | TRNDB410, TRNDB310 | -
3 | MBCDB110 | MBC | UPBDB110 | UPBDB210 | 2500AF, 2500AT
3 | TRNDB210 | TRN | EPPDB230 | ELPDB110, TRNDB410, TRNDB310 | -
3 | ELPDB240 | ELP | TRNDB210 | EPPDB230, ELPDB110, TRNDB410 | -
3 | EPPDB120 | EPP | TRNDB210 | ELPDB240, EPPDB230 | -
3 | STSDB110 | STS | - | - | -
3 | STSDB210 | STS | - | - | -
4 | MBCDB110 | MBC | - | - | -
4 | MBCDB110 | MBC | - | - | -
4 | BSWDZ110 | BSW | MBCDB110 | - | -
4 | BSWDZ110 | BSW | MBCDB110 | - | -
4 | BSWDZ110 | BSW | - | - | -
4 | STSDB110 | STS | BSWDZ110 | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
4 | STSDB210 | STS | - | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
4 | UDPDB110 | UDP | STSDB110 | - | 1600A, 480V, 3, , 3W, 65kAIC
4 | UDPDB220 | UDP | STSDB210 | - | 1600A, 480V, 3, , 3W, 65kAIC
4 | PDUDB110 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V, 65kAIC
4 | PDUDB310 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V, 65kAIC
4 | PDUDB520 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V
4 | PDUDB720 | PDU | - | - | 500KVA, K4 RATING
4 | TRNDB550 | TRN | - | - | -
4 | RPPDB117 | RPP | - | - | -
4 | RPPDB217 | RPP | - | - | -
4 | RPPDB317 | RPP | - | - | -
4 | RPPDB417 | RPP | - | - | -
4 | RPPDB517 | RPP | - | - | -
4 | RPPDB137 | RPP | - | - | -
4 | RPPDB237 | RPP | - | - | -
4 | RPPDB337 | RPP | - | - | -
4 | RPPDB437 | RPP | - | - | -
4 | RPPDB537 | RPP | - | - | -
4 | RPPDB158 | RPP | - | - | -
4 | RPPDB258 | RPP | TRNDB550 | - | -
4 | RPPDB358 | RPP | TRNDB550 | - | -
4 | RPPDB458 | RPP | TRNDB550 | - | -
4 | RPPDB558 | RPP | TRNDB550 | - | -
4 | RPPDB178 | RPP | TRNDB550 | - | -
4 | RPPDB278 | RPP | - | - | -
4 | RPPDB378 | RPP | - | - | -
4 | RPPDB478 | RPP | - | - | -
4 | RPPDB578 | RPP | - | - | -
4 | RPPDB650 | RPP | RPPDB558 | RPPDB458, RPPDB358, RPPDB178, RPPDB258, TRNDB550 | -
4 | MBCDB110 | MBC | RPPDB537 | RPPDB437, RPPDB337, RPPDB237, RPPDB158 | -
4 | UDPDB310 | UDP | MBCDB110 | RPPDB337, RPPDB437, RPPDB537, RPPDB158, RPPDB258, RPPDB358, RPPDB458, RPPDB558 | 2500A, 480V, 3, , 3W, 65kAIC
4 | BSWDZ210 | BSW | - | - | -
4 | BSWDZ310 | BSW | - | - | -
4 | BSWDZ210 | BSW | - | - | -
4 | BSWDZ210 | BSW | - | - | -
4 | BSWDZ310 | BSW | - | - | -
4 | ATSDB130 | ATS | BSWDZ210 | BSWDZ210 | 800A,480V, 3, , 3-POLE
4 | ATSDB230 | ATS | - | - | 800A,480V, 3, , 3-POLE
4 | ATSDB330 | ATS | BSWDZ310 | BSWDZ210, BSWDZ310 | 800A,480V, 3, , 3-POLE
4 | ATSDB430 | ATS | - | - | -
4 | PDUDB210 | PDU | ATSDB130 | - | 500KVA, K4 RATING, 480V:415Y/240V
4 | PDUDB420 | PDU | ATSDB230 | - | 500KVA, K4 RATING, 480V:415Y/240V
4 | PDUDB630 | PDU | ATSDB330 | - | 500KVA, K4 RATING, 480V:415Y/240V
4 | PDUDB840 | PDU | ATSDB430 | - | 500KVA, K4 RATING, 480V:415Y/240V
4 | RPPDB127 | RPP | - | - | -
4 | RPPDB227 | RPP | - | - | -
4 | RPPDB327 | RPP | - | - | -
4 | RPPDB427 | RPP | - | - | -
4 | RPPDB527 | RPP | - | - | -
4 | RPPDB147 | RPP | - | - | -
4 | RPPDB247 | RPP | - | - | -
4 | RPPDB347 | RPP | - | - | -
4 | RPPDB447 | RPP | - | - | -
4 | RPPDB547 | RPP | - | - | -
4 | RPPDB168 | RPP | - | - | -
4 | RPPDB268 | RPP | - | - | -
4 | RPPDB368 | RPP | - | - | -
4 | RPPDB468 | RPP | - | - | -
4 | RPPDB568 | RPP | - | - | -
4 | RPPDB188 | RPP | - | - | -
4 | RPPDB288 | RPP | - | - | -
4 | RPPDB388 | RPP | - | - | -
4 | RPPDB488 | RPP | - | - | -
4 | RPPDB588 | RPP | - | - | -
5 | GENDC100 | GEN | - | - | 3000kW/3750KVA, 480Y/277V, 3, , 4W, 0.80PF
5 | GSBDC110 | GSB | - | - | 4000A, 480Y/277V, 3, , 4W, 65kAIC, 4000AF, 4000AT, 100%
5 | TRNDC110 | TRN | - | - | -
5 | GSBDB110 | GSB | - | - | -
5 | GSBDZ110 | GSB | - | - | -
5 | MSBDC110 | MSB | TRNDC110 | - | 4000A, 480Y/277V, 3, WOODWARD PLC BREAKER TRANSFER CONTROLLER, , 4W, 100kAIC, S.E. RATED, BREAKER TRANSFER IS DELAYED OPEN TRANSITION
5 | MDPDC110 | MDP | - | - | 600A, 480Y/277V, 3, , 3W, 65kAIC
5 | UPSDC110 | UPS | - | - | 1000kVA/1000kW, 480Y/277V, 3, , 3W, INPUT, , 3W, OUTPUT
5 | UPSDC210 | UPS | MDPDC110 | - | 1000kVA/1000kW, 480Y/277V, 3
5 | EPPDZ110 | EPP | - | - | -
5 | EPPDZ110 | EPP | - | - | -
5 | EPPDZ110 | EPP | - | - | -
5 | TRNDC310 | TRN | - | - | 480V:480Y/277, 30KVA, NEMA 1
5 | UPBDC110 | UPB | - | - | -
5 | UPBDC210 | UPB | - | - | -
5 | UPBDC310 | UPB | - | - | -
5 | UPBDC410 | UPB | - | - | -
5 | UPBDC510 | UPB | - | - | -
5 | UPBDC120 | UPB | - | - | -
5 | UPBDC220 | UPB | - | - | -
5 | UPBDC320 | UPB | EPPDZ110 | - | -
5 | UPBDC420 | UPB | EPPDZ110 | - | -
5 | UPBDC520 | UPB | EPPDZ110 | - | -
5 | EPPDZ210 | EPP | UPBDC520 | EPPDZ110, EPPDZ110, EPPDZ110 | -
5 | EPPDZ210 | EPP | EPPDZ110 | EPPDZ110, EPPDZ110 | -
5 | EPPDZ210 | EPP | ELPDC110 | EPPDZ110, EPPDZ110, EPPDZ110 | -
5 | ELPDC110 | ELP | TRNDC310 | EPPDZ110 | -
5 | MBCDC110 | MBC | UPBDC110 | UPBDC210 | 2500AF, 2500AT
5 | TRNDC210 | TRN | ELPDC110 | EPPDZ210, TRNDC310 | -
5 | ELPDC230 | ELP | TRNDC210 | ELPDC110, TRNDC310 | -
5 | EPPDC120 | EPP | TRNDC210 | ELPDC230 | -
5 | STSDC110 | STS | - | - | -
5 | STSDC210 | STS | - | - | -
6 | MBCDC110 | MBC | - | - | -
6 | MBCDC110 | MBC | - | - | -
6 | BSWDZ110 | BSW | MBCDC110 | - | -
6 | BSWDZ110 | BSW | MBCDC110 | - | -
6 | BSWDZ110 | BSW | - | - | -
6 | STSDC110 | STS | BSWDZ110 | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
6 | STSDC210 | STS | - | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
6 | UDPDC110 | UDP | STSDC110 | - | 1600A, 480V, 3, , 3W, 65kAIC
6 | UDPDC220 | UDP | STSDC210 | - | 1600A, 480V, 3, , 3W, 65kAIC
6 | PDUDC110 | PDU | - | - | 500KVA, 480V:415Y/240V, 65kAIC
6 | PDUDC310 | PDU | - | - | 500KVA, 480V:415Y/240V, 65kAIC
6 | PDUDC520 | PDU | - | - | 500KVA, 480V:415Y/240V
6 | PDUDC720 | PDU | - | - | 500KVA
6 | RPPDC117 | RPP | - | - | -
6 | RPPDC217 | RPP | - | - | -
6 | RPPDC317 | RPP | - | - | -
6 | RPPDC417 | RPP | - | - | -
6 | RPPDC517 | RPP | - | - | -
6 | RPPDC137 | RPP | - | - | -
6 | RPPDC237 | RPP | - | - | -
6 | RPPDC337 | RPP | - | - | -
6 | RPPDC437 | RPP | - | - | -
6 | RPPDC537 | RPP | - | - | -
6 | RPPDC158 | RPP | - | - | -
6 | RPPDC258 | RPP | - | - | -
6 | RPPDC358 | RPP | - | - | -
6 | RPPDC458 | RPP | - | - | -
6 | RPPDC558 | RPP | - | - | -
6 | RPPDC178 | RPP | - | - | -
6 | RPPDC278 | RPP | - | - | -
6 | RPPDC378 | RPP | - | - | -
6 | RPPDC478 | RPP | - | - | -
6 | RPPDC578 | RPP | - | - | -
6 | MBCDC110 | MBC | RPPDC537 | RPPDC437, RPPDC337, RPPDC237, RPPDC158 | -
6 | UDPDC310 | UDP | MBCDC110 | RPPDC337, RPPDC437, RPPDC537, RPPDC158, RPPDC258, RPPDC358, RPPDC458, RPPDC558 | 2500A, 480V, 3, , 3W, 65kAIC
6 | BSWDZ210 | BSW | - | - | -
6 | BSWDZ310 | BSW | - | - | -
6 | BSWDZ210 | BSW | - | - | -
6 | BSWDZ210 | BSW | BSWDZ310 | - | -
6 | BSWDZ310 | BSW | - | - | -
6 | ATSDC130 | ATS | BSWDZ210 | BSWDZ210 | 800A,480V, 3, , 3-POLE
6 | ATSDC230 | ATS | - | - | 800A,480V, 3, , 3-POLE
6 | ATSDC330 | ATS | BSWDZ310 | BSWDZ210, BSWDZ310 | 800A,480V, 3, , 3-POLE
6 | ATSDC430 | ATS | - | - | -
6 | PDUDC210 | PDU | ATSDC130 | - | 500KVA, 480V:415Y/240V
6 | PDUDC420 | PDU | ATSDC230 | - | 500KVA, 480V:415Y/240V
6 | PDUDC630 | PDU | ATSDC330 | - | 500KVA, 480V:415Y/240V
6 | PDUDC840 | PDU | ATSDC430 | - | 500KVA, 480V:415Y/240V
6 | RPPDC127 | RPP | - | - | -
6 | RPPDC227 | RPP | - | - | -
6 | RPPDC327 | RPP | - | - | -
6 | RPPDC427 | RPP | - | - | -
6 | RPPDC527 | RPP | - | - | -
6 | RPPDC147 | RPP | - | - | -
6 | RPPDC247 | RPP | - | - | -
6 | RPPDC347 | RPP | - | - | -
6 | RPPDC447 | RPP | - | - | -
6 | RPPDC547 | RPP | - | - | -
6 | RPPDC168 | RPP | - | - | -
6 | RPPDC268 | RPP | - | - | -
6 | RPPDC368 | RPP | - | - | -
6 | RPPDC468 | RPP | - | - | -
6 | RPPDC568 | RPP | - | - | -
6 | RPPDC188 | RPP | - | - | -
6 | RPPDC288 | RPP | - | - | -
6 | RPPDC388 | RPP | - | - | -
6 | RPPDC488 | RPP | - | - | -
6 | RPPDC588 | RPP | - | - | -
7 | GENDD100 | GEN | - | - | 3000kW/3750KVA, 480Y/277V, 3, , 4W, 0.80PF
7 | GSBDD110 | GSB | - | - | 4000A, 480Y/277V, 3, , 4W, 65kAIC, 4000AF, 4000AT, 100%
7 | TRNDD110 | TRN | - | - | -
7 | GSBDZ110 | GSB | - | - | -
7 | GSBDE110 | GSB | - | - | -
7 | MSBDD110 | MSB | TRNDD110 | - | 4000A, 480Y/277V, 3, WOODWARD PLC BREAKER TRANSFER CONTROLLER, , 4W, 100kAIC, S.E. RATED, BREAKER TRANSFER IS DELAYED OPEN TRANSITION
7 | MDPDD110 | MDP | - | - | 600A, 480Y/277V, 3, , 3W, 65kAIC
7 | UPSDD110 | UPS | - | - | 1000kVA/1000kW, 480Y/277V, 3, , 3W, INPUT, , 3W, OUTPUT
7 | UPSDD210 | UPS | MDPDD110 | - | 1000kVA/1000kW, 480Y/277V, 3
7 | EPPDZ110 | EPP | - | - | -
7 | EPPDZ110 | EPP | - | - | -
7 | EPPDZ110 | EPP | - | - | -
7 | TRNDD310 | TRN | - | - | 480V:480Y/277, 30KVA, NEMA 1
7 | UPBDD110 | UPB | - | - | -
7 | UPBDD210 | UPB | - | - | -
7 | UPBDD310 | UPB | - | - | -
7 | UPBDD410 | UPB | - | - | -
7 | UPBDD510 | UPB | - | - | -
7 | UPBDD120 | UPB | - | - | -
7 | UPBDD220 | UPB | - | - | -
7 | UPBDD320 | UPB | EPPDZ110 | - | -
7 | UPBDD420 | UPB | EPPDZ110 | - | -
7 | UPBDD520 | UPB | EPPDZ110 | - | -
7 | EPPDZ210 | EPP | UPBDD520 | EPPDZ110, EPPDZ110, EPPDZ110 | -
7 | EPPDZ210 | EPP | EPPDZ110 | EPPDZ110, EPPDZ110 | -
7 | EPPDZ210 | EPP | ELPDD110 | EPPDZ110, EPPDZ110, EPPDZ110 | -
7 | ELPDD110 | ELP | TRNDD310 | EPPDZ110 | -
7 | MBCDD110 | MBC | UPBDD110 | UPBDD210 | 2500AF, 2500AT
7 | TRNDD210 | TRN | ELPDD110 | EPPDZ210, TRNDD310 | -
7 | ELPDD230 | ELP | TRNDD210 | ELPDD110, TRNDD310 | -
7 | EPPDD120 | EPP | TRNDD210 | ELPDD230 | -
7 | STSDD110 | STS | - | - | -
7 | STSDD210 | STS | - | - | -
8 | MBCDD110 | MBC | - | - | -
8 | MBCDD110 | MBC | - | - | -
8 | BSWDZ110 | BSW | MBCDD110 | - | -
8 | BSWDZ110 | BSW | MBCDD110 | - | -
8 | BSWDZ110 | BSW | - | - | -
8 | STSDD110 | STS | BSWDZ110 | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
8 | STSDD210 | STS | - | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
8 | UDPDD110 | UDP | STSDD110 | - | 1600A, 480V, 3, , 3W, 65kAIC
8 | UDPDD220 | UDP | STSDD210 | - | 1600A, 480V, 3, , 3W, 65kAIC
8 | PDUDD110 | PDU | - | - | 500KVA, 480V:415Y/240V, 65kAIC
8 | PDUDD310 | PDU | - | - | 500KVA, 480V:415Y/240V, 65kAIC
8 | PDUDD520 | PDU | - | - | 500KVA, 480V:415Y/240V
8 | PDUDD720 | PDU | - | - | 500KVA
8 | RPPDD117 | RPP | - | - | -
8 | RPPDD217 | RPP | - | - | -
8 | RPPDD317 | RPP | - | - | -
8 | RPPDD417 | RPP | - | - | -
8 | RPPDD517 | RPP | - | - | -
8 | RPPDD137 | RPP | - | - | -
8 | RPPDD237 | RPP | - | - | -
8 | RPPDD337 | RPP | - | - | -
8 | RPPDD437 | RPP | - | - | -
8 | RPPDD537 | RPP | - | - | -
8 | RPPDD158 | RPP | - | - | -
8 | RPPDD258 | RPP | - | - | -
8 | RPPDD358 | RPP | - | - | -
8 | RPPDD458 | RPP | - | - | -
8 | RPPDD558 | RPP | - | - | -
8 | RPPDD178 | RPP | - | - | -
8 | RPPDD278 | RPP | - | - | -
8 | RPPDD378 | RPP | - | - | -
8 | RPPDD478 | RPP | - | - | -
8 | RPPDD578 | RPP | - | - | -
8 | MBCDD110 | MBC | RPPDD537 | RPPDD437, RPPDD337, RPPDD237, RPPDD158 | -
8 | UDPDD310 | UDP | MBCDD110 | RPPDD337, RPPDD437, RPPDD537, RPPDD158, RPPDD258, RPPDD358, RPPDD458, RPPDD558 | 2500A, 480V, 3, , 3W, 65kAIC
8 | BSWDZ210 | BSW | - | - | -
8 | BSWDZ310 | BSW | - | - | -
8 | BSWDZ210 | BSW | - | - | -
8 | BSWDZ210 | BSW | - | - | -
8 | BSWDZ310 | BSW | - | - | -
8 | ATSDD130 | ATS | BSWDZ210 | BSWDZ210 | 800A,480V, 3, , 3-POLE
8 | ATSDD230 | ATS | - | - | 800A,480V, 3, , 3-POLE
8 | ATSDD330 | ATS | BSWDZ310 | BSWDZ210, BSWDZ310 | 800A,480V, 3, , 3-POLE
8 | ATSDD430 | ATS | - | - | -
8 | PDUDD210 | PDU | ATSDD130 | - | 500KVA, 480V:415Y/240V
8 | PDUDD420 | PDU | ATSDD230 | - | 500KVA, 480V:415Y/240V
8 | PDUDD630 | PDU | ATSDD330 | - | 500KVA, 480V:415Y/240V
8 | PDUDD840 | PDU | ATSDD430 | - | 500KVA, 480V:415Y/240V
8 | RPPDD127 | RPP | - | - | -
8 | RPPDD227 | RPP | - | - | -
8 | RPPDD327 | RPP | - | - | -
8 | RPPDD427 | RPP | - | - | -
8 | RPPDD527 | RPP | - | - | -
8 | RPPDD147 | RPP | - | - | -
8 | RPPDD247 | RPP | - | - | -
8 | RPPDD347 | RPP | - | - | -
8 | RPPDD447 | RPP | - | - | -
8 | RPPDD547 | RPP | - | - | -
8 | RPPDD168 | RPP | - | - | -
8 | RPPDD268 | RPP | - | - | -
8 | RPPDD368 | RPP | - | - | -
8 | RPPDD468 | RPP | - | - | -
8 | RPPDD568 | RPP | - | - | -
8 | RPPDD188 | RPP | - | - | -
8 | RPPDD288 | RPP | - | - | -
8 | RPPDD388 | RPP | - | - | -
8 | RPPDD488 | RPP | - | - | -
8 | RPPDD588 | RPP | - | - | -
9 | GENDE100 | GEN | - | - | 3000kW/3750KVA, 480Y/277V, 3, , 4W, 0.80PF
9 | GSBDE110 | GSB | - | - | 4000A, 480Y/277V, 3, , 4W, 65kAIC, 4000AF, 4000AT, 100%
9 | TRNDE110 | TRN | - | - | -
9 | GSBDD110 | GSB | - | - | -
9 | GSBDF110 | GSB | - | - | -
9 | MSBDE110 | MSB | TRNDE110 | - | 4000A, 480Y/277V, 3, WOODWARD PLC BREAKER TRANSFER CONTROLLER, , 4W, 100kAIC, S.E. RATED, BREAKER TRANSFER IS DELAYED OPEN TRANSITION
9 | MDPDE110 | MDP | - | - | 600A, 480Y/277V, 3, , 3W, 65kAIC
9 | UPSDE110 | UPS | - | - | 1000kVA/1000kW, 480Y/277V, 3, , 3W, INPUT, , 3W, OUTPUT
9 | UPSDE210 | UPS | MDPDE110 | - | 1000kVA/1000kW, 480Y/277V, 3
9 | EPPDZ110 | EPP | - | - | -
9 | EPPDZ110 | EPP | - | - | -
9 | TRNDE310 | TRN | - | - | 480V:480Y/277, 30KVA, NEMA 1
9 | UPBDE110 | UPB | - | - | -
9 | UPBDE210 | UPB | - | - | -
9 | UPBDE310 | UPB | - | - | -
9 | UPBDE410 | UPB | - | - | -
9 | UPBDE510 | UPB | - | - | -
9 | UPBDE120 | UPB | - | - | -
9 | UPBDE220 | UPB | - | - | -
9 | UPBDE320 | UPB | EPPDZ110 | - | -
9 | UPBDE420 | UPB | EPPDZ110 | - | -
9 | UPBDE520 | UPB | EPPDZ110 | - | -
9 | EPPDZ210 | EPP | UPBDE520 | EPPDZ110, EPPDZ110 | -
9 | EPPDZ210 | EPP | ELPDE110 | EPPDZ110, EPPDZ110 | -
9 | EPPDZ210 | EPP | ELPDE110 | EPPDZ110, EPPDZ110 | -
9 | ELPDE110 | ELP | TRNDE310 | - | -
9 | MBCDE110 | MBC | UPBDE110 | UPBDE210 | 2500AF, 2500AT
9 | TRNDE210 | TRN | ELPDE110 | EPPDZ210, TRNDE310 | -
9 | ELPDE230 | ELP | TRNDE210 | ELPDE110, TRNDE310 | -
9 | EPPDE120 | EPP | TRNDE210 | ELPDE230 | -
9 | STSDE110 | STS | - | - | -
9 | STSDE210 | STS | - | - | -
10 | MBCDE110 | MBC | - | - | -
10 | MBCDE110 | MBC | - | - | -
10 | BSWDZ110 | BSW | MBCDE110 | - | -
10 | BSWDZ110 | BSW | MBCDE110 | - | -
10 | BSWDZ110 | BSW | - | - | -
10 | STSDE110 | STS | BSWDZ110 | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
10 | STSDE210 | STS | - | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
10 | UDPDE110 | UDP | STSDE110 | - | 1600A, 480V, 3, , 3W, 65kAIC
10 | UDPDE220 | UDP | STSDE210 | - | 1600A, 480V, 3, , 3W, 65kAIC
10 | PDUDE110 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V, 65kAIC
10 | PDUDE310 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V, 65kAIC
10 | PDUDE520 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V
10 | PDUDE720 | PDU | - | - | 500KVA, K4 RATING
10 | TRNDE450 | TRN | - | - | -
10 | RPPDE117 | RPP | - | - | -
10 | RPPDE217 | RPP | - | - | -
10 | RPPDE317 | RPP | - | - | -
10 | RPPDE417 | RPP | - | - | -
10 | RPPDE517 | RPP | - | - | -
10 | RPPDE137 | RPP | - | - | -
10 | RPPDE237 | RPP | - | - | -
10 | RPPDE337 | RPP | - | - | -
10 | RPPDE437 | RPP | - | - | -
10 | RPPDE537 | RPP | - | - | -
10 | RPPDE158 | RPP | - | - | -
10 | RPPDE258 | RPP | TRNDE450 | - | -
10 | RPPDE358 | RPP | TRNDE450 | - | -
10 | RPPDE458 | RPP | TRNDE450 | - | -
10 | RPPDE558 | RPP | TRNDE450 | - | -
10 | RPPDE178 | RPP | TRNDE450 | - | -
10 | RPPDE278 | RPP | - | - | -
10 | RPPDE378 | RPP | - | - | -
10 | RPPDE478 | RPP | - | - | -
10 | RPPDE578 | RPP | - | - | -
10 | RPPDE650 | RPP | RPPDE558 | RPPDE458, RPPDE358, RPPDE178, RPPDE258, TRNDE450 | -
10 | MBCDE110 | MBC | RPPDE537 | RPPDE437, RPPDE337, RPPDE237, RPPDE158 | -
10 | UDPDE310 | UDP | MBCDE110 | RPPDE337, RPPDE437, RPPDE537, RPPDE158, RPPDE258, RPPDE358, RPPDE458, RPPDE558 | 2500A, 480V, 3, , 3W, 65kAIC
10 | BSWDZ210 | BSW | - | - | -
10 | BSWDZ310 | BSW | - | - | -
10 | BSWDZ210 | BSW | - | - | -
10 | BSWDZ210 | BSW | - | - | -
10 | BSWDZ310 | BSW | - | - | -
10 | ATSDE130 | ATS | BSWDZ210 | BSWDZ210 | 800A,480V, 3, , 3-POLE
10 | ATSDE230 | ATS | - | - | 800A,480V, 3, , 3-POLE
10 | ATSDE330 | ATS | BSWDZ310 | BSWDZ210, BSWDZ310 | 800A,480V, 3, , 3-POLE
10 | ATSDE430 | ATS | - | - | -
10 | PDUDE210 | PDU | ATSDE130 | - | 500KVA, K4 RATING, 480V:415Y/240V
10 | PDUDE420 | PDU | ATSDE230 | - | 500KVA, K4 RATING, 480V:415Y/240V
10 | PDUDE630 | PDU | ATSDE330 | - | 500KVA, K4 RATING, 480V:415Y/240V
10 | PDUDE840 | PDU | ATSDE430 | - | 500KVA, K4 RATING, 480V:415Y/240V
10 | RPPDE127 | RPP | - | - | -
10 | RPPDE227 | RPP | - | - | -
10 | RPPDE327 | RPP | - | - | -
10 | RPPDE427 | RPP | - | - | -
10 | RPPDE527 | RPP | - | - | -
10 | RPPDE147 | RPP | - | - | -
10 | RPPDE247 | RPP | - | - | -
10 | RPPDE347 | RPP | - | - | -
10 | RPPDE447 | RPP | - | - | -
10 | RPPDE547 | RPP | - | - | -
10 | RPPDE168 | RPP | - | - | -
10 | RPPDE268 | RPP | - | - | -
10 | RPPDE368 | RPP | - | - | -
10 | RPPDE468 | RPP | - | - | -
10 | RPPDE568 | RPP | - | - | -
10 | RPPDE188 | RPP | - | - | -
10 | RPPDE288 | RPP | - | - | -
10 | RPPDE388 | RPP | - | - | -
10 | RPPDE488 | RPP | - | - | -
10 | RPPDE588 | RPP | - | - | -
11 | GENDF100 | GEN | - | - | 3000kW/3750KVA, 480Y/277V, 3, , 4W, 0.80PF
11 | GSBDF110 | GSB | - | - | 4000A, 480Y/277V, 3, , 4W, 65kAIC, 4000AF, 4000AT, 100%
11 | TRNDF110 | TRN | - | - | -
11 | GSBDE110 | GSB | - | - | -
11 | MSBDF110 | MSB | TRNDF110 | - | 4000A, 480Y/277V, 3, WOODWARD PLC BREAKER TRANSFER CONTROLLER, , 4W, 100kAIC, S.E. RATED, BREAKER TRANSFER IS DELAYED OPEN TRANSITION
11 | MDPDF110 | MDP | - | - | 600A, 480Y/277V, 3, , 3W, 65kAIC
11 | UPSDF110 | UPS | - | - | 1000kVA/1000kW, 480Y/277V, 3, , 3W, INPUT, , 3W, OUTPUT
11 | UPSDF210 | UPS | MDPDF110 | - | 1000kVA/1000kW, 480Y/277V, 3
11 | EPPDZ110 | EPP | - | - | -
11 | EPPDZ110 | EPP | - | - | -
11 | TRNDF310 | TRN | - | - | 480V:208Y/120, 75KVA, NEMA 1
11 | UPBDF110 | UPB | - | - | -
11 | UPBDF210 | UPB | - | - | -
11 | UPBDF310 | UPB | - | - | -
11 | UPBDF410 | UPB | - | - | -
11 | UPBDF510 | UPB | - | - | -
11 | UPBDF120 | UPB | - | - | -
11 | UPBDF220 | UPB | - | - | -
11 | UPBDF320 | UPB | EPPDZ110 | - | -
11 | UPBDF420 | UPB | EPPDZ110 | - | -
11 | UPBDF520 | UPB | EPPDZ110 | - | -
11 | EPPDZ210 | EPP | UPBDF520 | EPPDZ110, EPPDZ110 | -
11 | EPPDZ210 | EPP | ELPDF110 | EPPDZ110, EPPDZ110 | -
11 | EPPDZ210 | EPP | ELPDF110 | EPPDZ110, EPPDZ110 | -
11 | ELPDF110 | ELP | TRNDF310 | - | -
11 | MBCDF110 | MBC | UPBDF110 | UPBDF210 | 2500AF, 2500AT
11 | TRNDF210 | TRN | EPPDF230 | EPPDZ210, ELPDF110, TRNDF310 | -
11 | EPPDF230 | EPP | ELPDF110 | TRNDF310 | -
11 | EPPDF120 | EPP | TRNDF210 | EPPDF230 | -
11 | EPPDF320 | EPP | EPPDF230 | TRNDF210 | -
11 | STSDF110 | STS | - | - | -
11 | STSDF210 | STS | - | - | -
12 | MBCDF110 | MBC | - | - | -
12 | MBCDF110 | MBC | - | - | -
12 | BSWDZ110 | BSW | MBCDF110 | - | -
12 | BSWDZ110 | BSW | - | - | -
12 | STSDF110 | STS | - | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
12 | STSDF210 | STS | - | - | 1600A, 480V, 3, , 3W, 3 POLE, 65kAIC
12 | UDPDF110 | UDP | STSDF110 | - | 1600A, 480V, 3, , 3W, 65kAIC
12 | UDPDF220 | UDP | STSDF210 | - | 1600A, 480V, 3, , 3W, 65kAIC
12 | PDUDF110 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V, 65kAIC
12 | PDUDF310 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V, 65kAIC
12 | PDUDF520 | PDU | - | - | 500KVA, K4 RATING, 480V:415Y/240V
12 | PDUDF720 | PDU | - | - | 500KVA, K4 RATING
12 | TRNDF410 | TRN | - | - | -
12 | RPPDF117 | RPP | - | - | -
12 | RPPDF217 | RPP | TRNDF410 | - | -
12 | RPPDF317 | RPP | TRNDF410 | - | -
12 | RPPDF417 | RPP | TRNDF410 | - | -
12 | RPPDF517 | RPP | TRNDF410 | - | -
12 | RPPDF137 | RPP | TRNDF410 | - | -
12 | RPPDF237 | RPP | TRNDF410 | - | -
12 | RPPDF337 | RPP | - | - | -
12 | RPPDF437 | RPP | - | - | -
12 | RPPDF537 | RPP | - | - | -
12 | RPPDF158 | RPP | - | - | -
12 | RPPDF258 | RPP | - | - | -
12 | RPPDF358 | RPP | - | - | -
12 | RPPDF458 | RPP | - | - | -
12 | RPPDF558 | RPP | - | - | -
12 | RPPDF178 | RPP | - | - | -
12 | RPPDF278 | RPP | - | - | -
12 | RPPDF378 | RPP | - | - | -
12 | RPPDF478 | RPP | - | - | -
12 | RPPDF578 | RPP | - | - | -
12 | RPPDF610 | RPP | RPPDF517 | RPPDF417, RPPDF317, RPPDF137, RPPDF217, RPPDF237, TRNDF410 | -
12 | MBCDF110 | MBC | RPPDF537 | RPPDF437, RPPDF337, RPPDF237, RPPDF158 | -
12 | UDPDF310 | UDP | MBCDF110 | RPPDF337, RPPDF437, RPPDF537, RPPDF158, RPPDF258, RPPDF358, RPPDF458, RPPDF558 | 2500A, 480V, 3, , 3W, 65kAIC
12 | BSWDZ210 | BSW | - | - | -
12 | BSWDZ310 | BSW | - | - | -
12 | BSWDZ210 | BSW | - | - | -
12 | BSWDZ210 | BSW | - | - | -
12 | BSWDZ310 | BSW | BSWDZ210 | - | -
12 | ATSDF130 | ATS | BSWDZ210 | BSWDZ210 | 800A,480V, 3, , 3-POLE
12 | ATSDF230 | ATS | - | - | 800A,480V, 3, , 3-POLE
12 | ATSDF330 | ATS | BSWDZ310 | BSWDZ210, BSWDZ310 | 800A,480V, 3, , 3-POLE
12 | ATSDF430 | ATS | - | - | -
12 | PDUDF210 | PDU | ATSDF130 | - | 500KVA, K4 RATING, 480V:415Y/240V
12 | PDUDF420 | PDU | ATSDF230 | - | 500KVA, K4 RATING, 480V:415Y/240V
12 | PDUDF630 | PDU | ATSDF330 | - | 500KVA, K4 RATING, 480V:415Y/240V
12 | PDUDF840 | PDU | ATSDF430 | - | 500KVA, K4 RATING, 480V:415Y/240V
12 | RPPDF127 | RPP | - | - | -
12 | RPPDF227 | RPP | - | - | -
12 | RPPDF327 | RPP | - | - | -
12 | RPPDF427 | RPP | - | - | -
12 | RPPDF527 | RPP | - | - | -
12 | RPPDF147 | RPP | - | - | -
12 | RPPDF247 | RPP | - | - | -
12 | RPPDF347 | RPP | - | - | -
12 | RPPDF447 | RPP | - | - | -
12 | RPPDF547 | RPP | - | - | -
12 | RPPDF168 | RPP | - | - | -
12 | RPPDF268 | RPP | - | - | -
12 | RPPDF368 | RPP | - | - | -
12 | RPPDF468 | RPP | - | - | -
12 | RPPDF568 | RPP | - | - | -
12 | RPPDF188 | RPP | - | - | -
12 | RPPDF288 | RPP | - | - | -
12 | RPPDF388 | RPP | - | - | -
12 | RPPDF488 | RPP | - | - | -
12 | RPPDF588 | RPP | - | - | -
13 | GENDZ100 | GEN | - | - | 3000kW/3750KVA, 480Y/277V, 3, , 4W, 0.80PF
13 | GSBDZ110 | GSB | - | - | 4000A, 480Y/277V, 3, , 4W, 65kAIC, 4000AF, 4000AT, 100%
13 | TRNDZ110 | TRN | - | - | -
13 | GSBDC110 | GSB | GSBDD110 | - | -
13 | GSBDD110 | GSB | - | - | -
13 | MSBDZ110 | MSB | TRNDZ110 | - | 4000A, 480Y/277V, 3, , 4W, 100kAIC, S.E. RATED, WOODWARD PLC BREAKER TRANSFER CONTROLLER, BREAKER TRANSFER IS DELAYED OPEN TRANSITION
13 | MDPDZ110 | MDP | - | - | 600A, 480V, 3, , 3W, 65kAIC
13 | ELPDZ110 | ELP | - | - | -
13 | UPSDZ110 | UPS | - | - | 1000kVA/1000kW, 480Y/277V, 3, , 3W, INPUT, , 3W, OUTPUT
13 | UPSDZ210 | UPS | - | - | 1000kVA/1000kW, 480Y/277V, 3
13 | TRNDZ210 | TRN | ELPDZ110 | - | 480V:208Y/120, 45KVA, NEMA 1
13 | EPPDZ120 | EPP | TRNDZ210 | - | -
13 | EPPDZ210 | EPP | EPPDZ120 | - | 150A, 480V, 3, , 3W, 35kAIC
13 | UPBDZ110 | UPB | - | - | -
13 | UPBDZ210 | UPB | - | - | -
13 | UPBDZ310 | UPB | - | - | -
13 | UPBDZ410 | UPB | - | - | -
13 | UPBDZ510 | UPB | - | - | -
13 | UPBDZ120 | UPB | - | - | -
13 | UPBDZ220 | UPB | - | - | -
13 | UPBDZ320 | UPB | - | - | -
13 | UPBDZ420 | UPB | - | - | -
13 | UPBDZ520 | UPB | - | - | -
13 | MBCDZ110 | MBC | UPBDZ110 | UPBDZ210 | 2500AF, 2500AT, 2500A, 480V, 3, , 3W, 100kAIC, 100%
13 | EPPDZ110 | EPP | - | - | 150A, 480V, 3, , 3W, 35kAIC
13 | BSWDZ110 | BSW | - | - | -
13 | BSWDZ110 | BSW | - | - | -
13 | BSWDZ110 | BSW | - | - | -
13 | BSWDZ210 | BSW | BSWDZ110 | BSWDZ110, BSWDZ110 | 1600A, 480V, 3, , 3W, N1, 65kAIC, TYPE I-LINE
13 | BSWDZ210 | BSW | BSWDZ110 | BSWDZ110 | -
13 | BSWDZ310 | BSW | BSWDZ210 | BSWDZ210, BSWDZ110, BSWDZ110, BSWDZ110 | 1600A, 480V, 3, , 3W, N1, 65kAIC, TYPE I-LINE
13 | BSWDZ310 | BSW | BSWDZ210 | BSWDZ210, BSWDZ110 | -